## Cover
Business Energy Solutions
Custom Program
2023 Rebate Application
Prescriptive Measures for Existing Facilities
HVAC
Submit application to:
TEP Business Energy Solutions
Tel: 1-866-473-8761
tepbes@franklinenergy.com
Application Process
1. Submit a Pre-Notification Application.
2. Install the qualified technology.
3. Submit a complete, signed Final Application with all documentation.
4. Receive incentive check within 6 weeks of Final Application approval.
Last Modified: 12/29/2022
Funded by TEP customers and approved by the Arizona Corporation Commission

## HVAC
TEP Custom Program - Prescriptive Application | [8 empty] | For HELP hover mouse over grey cells with a red triangle in the upper right corner for additional information. Yellow and light green shaded cells indicate Data Entry.
HVAC Worksheet |  |  | 2022-12-29
Project Name: | [10 empty] | TEP Account #:
Incentives: HVAC, Controls, Sensors, Water Heaters and Window Treatment Measures
| Minimum Efficiency |  | Size Category (in tons)
Measure |  |  | 0.75 | 1 | 1.25 | 2 | 2.5 | 3 | 3.5 | 4 | 5 | 5.4 - 11.25 | 11.25 ≤ 20 | 20 < 63.3 | ≥63.3 | < 150 | ≥ 150 | 151-299 | ≥ 300
Air Conditioning (Three Phase <5.4 tons ONLY) | 14.3 SEER2 |  |  |  |  | 135/unit
Air Conditioning (Single and Three Phase <5.4 tons) | 15.2 SEER2 |  |  |  |  | 275/unit
Air Conditioning (Single and Three Phase <5.4 tons) | 16.2 SEER2 |  |  |  |  | 400/unit
Air Conditioning (Single and Three Phase <5.4 tons) | ≥17.1 SEER2 |  |  |  |  | 550/unit
Heat Pumps (Three Phase <5.4 tons ONLY) | 14.3 SEER2 |  |  |  |  | 95/unit
Heat Pumps (Single and Three Phase <5.4 tons) | 15.2 SEER2 |  |  |  |  | 195/unit
Heat Pumps (Single and Three Phase <5.4 tons) | 16.2 SEER2 |  |  |  |  | 295/unit
Heat Pumps (Single and Three Phase <5.4 tons) | ≥17.1 SEER2 |  |  |  |  | 395/unit
Air Conditioning (Three Phase) | 15.99 IEER | [10 empty] | 30/ton1
Air Conditioning (Three Phase) | 14.92 IEER | [11 empty] | 20/ton1
Air Conditioning (Three Phase) | 13.8 IEER | [12 empty] | 20/ton1
Air Conditioning (Three Phase) | 12.75 IEER | [13 empty] | 20/ton1
Heat Pumps (Three Phase) | 15.8 IEER | [10 empty] | 30/ton1
Heat Pumps (Three Phase) | 14.7 IEER | [11 empty] | 20/ton1
Heat Pumps (Three Phase) | 15.2 IEER | [12 empty] | 20/ton1
Centrifugal Chiller | 0.61 IPLV | [14 empty] | 7/ton2
Centrifugal Chiller | 0.55 IPLV | [16 empty] | 7/ton2
Centrifugal Chiller | 0.50 IPLV | [17 empty] | 6/ton2
Screw Chiller | 0.67 IPLV | [14 empty] | 7/ton2
Screw Chiller | 0.62 IPLV | [16 empty] | 7/ton2
Screw Chiller | 0.57 IPLV | [17 empty] | 6/ton2
Reciprocating Chiller | 0.69 IPLV | [14 empty] | 5/ton3
Reciprocating Chiller | 0.69 IPLV | [16 empty] | 5/ton3
Reciprocating Chiller | 0.69 IPLV | [17 empty] | 5/ton3
Air Cooled Chiller | 1.041 IPLV | [14 empty] | 3.33/ton4
Air Cooled Chiller | 1.062 IPLV | [15 empty] | 7.79/ton5
Add Economizers (3, 4 and 5 ton units only) | See Calculator below | [6 empty] | 80/unit |  | 80/unit | 80/unit | [10 empty] | $/ton | Current CAPPING | Required Capping | Base | BASE TOTAL | EFF | EFF INC | EFF TOTAL | TOTAL
[22 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
Programmable Thermostat | $130 per HVAC unit | [9 empty] | Rebates in above chart are in dollars. | [10 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
Hotel Room Control | $75 per room | [9 empty] | 1. Additional efficiency incentive of $50/ton may apply. Some combinations may be capped. | [10 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
CO Sensors | $1000 per sensor | [9 empty] | 2. Additional efficiency incentive of $200/ton may apply. Some combinations may be capped. | [10 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
CO2 Sensors | $475 per sensor | [9 empty] | 3. Additional efficiency incentive of $200/ton may apply. Some combinations may be capped. | [10 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
Shade Screens | $2 per square foot | [9 empty] | 4. Additional efficiency incentive of $100/ton may apply. Some combinations may be capped. | [10 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
[11 empty] | 5. Additional efficiency incentive of $116.88/ton may apply. Some combinations may be capped. | [10 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE! | [12 empty] | cap float per ton
[22 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE! | [11 empty] | Incremental cost per ton | 0.5
Yellow Box: Click in box and select from drop down menu | [5 empty] | Green Box: requires a number to be entered | [6 empty] | White Box: No entry required | [8 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE! | [9 empty] | AC_Unit_Three_Phase_5.39 | 5.39 | 46.15 | 23.075 | _5.39 |  | Size | Min | Max
[22 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE! | [9 empty] | AC_Unit_Three_Phase_11.24 | 11.249 | 85.33 | 42.665 | _11.24 |  | _0.58_tons | 0.58 | 0.74
Calculator: AC, HP, Chillers, Economizers, Thermostats, Sensors | [39 empty] | AC_Unit_Three_Phase_19.9 | 19.99 | 56.33 | 28.165 | _19.9 |  | _0.75_tons | 0.75 | 0.99
Measure | Size/Usage Category |  |  |  | SEER2 Rating |  | Heating Effciency (COP or HSPF) |  | Actual Size (tons) |  |  |  | Minimum Efficiency |  | System/Unit Efficiency (IEER or IPLV) |  | Quantity |  | Total |  | Type | Complete? | IS ERROR | Size ERROR | Efficiency ERROR |  | Wrong CAT Error for Single Phase AND Three Phase <5.4 Tons | [7 empty] | Base | Eff Inc |  | Capping per UNIT |  | AC_Unit_Three_Phase_63.2 | 63.29 | 48.98 | 24.49 | _63.2 |  | _1.00_tons | 1 | 1.24
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [8 empty] | AC_Unit_Three_Phase_100 | 10000 | 27.45 | 13.725 | _100 |  | _1.25_tons | 1.25 | 1.5
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [8 empty] | HP_Unit_Three_Phase_5.39 | 5.39 | 72.81 | 36.405 |  |  | _2.0_tons | 0 | 2.499
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [8 empty] | HP_Unit_Three_Phase_11.24 | 11.249 | 96.19 | 48.095 |  |  | _2.0_tons_1Phase | 0 | 2.499
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [8 empty] | HP_Unit_Three_Phase_19.9 | 19.99 | 71.45 | 35.725 |  |  | _2.5_tons | 2.5 | 2.999
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [8 empty] | HP_Unit_Three_Phase_63.2 | 63.29 | 146.92 | 73.46 |  |  | _2.5_tons_1Phase | 2.5 | 2.999
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [8 empty] | HP_Unit_Three_Phase_100 | 10000 | 146.92 | 73.46 |  |  | _3.0_tons | 3 | 3.499
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | _3.0_tons_1Phase | 3 | 3.499
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | _3.5_tons | 3.5 | 3.999
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | _3.5_tons_1Phase | 3.5 | 3.999
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | _4.0_tons | 4 | 4.999
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | _4.0_tons_1Phase | 4 | 4.999
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | _5.0_tons | 5 | 5.999
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | _5.0_tons_1Phase | 5 | 5.999
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | <150 | 0 | 149.99
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | <5.4_tons | 0.25 | 5.3999
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | <6 Tons | 0.25 | 5.99
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | ≤150 | 0 | 150
[24 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [14 empty] | ≥11.25 tons and <20 tons | 11.25 | 19.99
[20 empty] | Note: D N Q means Does Not Qualify | [25 empty] | ≥150 | 150 | 10000
Page 2 of 3 | HVAC Specifications & Worksheet | [44 empty] | ≥20 Tons | 20 | 10000
Calculator: Shade Screens | [20 empty] | Status | Shading Coef error | IS ERROR | Mismatch Category? | [21 empty] | ≥20_ tons | 20 | 10000
Measure | Gas Heat |  | Category |  |  | Window Location |  |  | Max Shading Coefficient |  | Shading Coefficient |  | Total Square Footage |  |  |  | Total |  |  |  |  | FALSE |  | FALSE | [21 empty] | ≥300 | 300 | 10000
[22 empty] | FALSE |  | FALSE | [21 empty] | ≥5.4 tons and <11.25 tons | 5.4 | 11.2499
[22 empty] | FALSE |  | FALSE | [21 empty] | ≥63.3_ tons | 63.3 | 10000
[22 empty] | FALSE |  | FALSE | [21 empty] | 11 < 20 Tons | 11 | 19.99
[22 empty] | FALSE |  | FALSE | [21 empty] | 11.25<20 tons | 11.25 | 19.99
[22 empty] | FALSE |  | FALSE | [21 empty] | 151-299 | 151 | 299
[22 empty] | FALSE |  | FALSE | [21 empty] | 20<63.3 tons | 20 | 63.299
[22 empty] | FALSE |  | FALSE | [21 empty] | 5.4<11.25 tons | 5.4 | 11.2499
[22 empty] | FALSE |  | FALSE | [21 empty] | 6<11 Tons | 6 | 10.99
[20 empty] | Note: D N Q means Does Not Qualify | [25 empty] | 0 | 50 | 1000
Calculator: Heat Pump Water Heaters (HPWH) | [45 empty] | 0 | 50 | 1000
Measure |  | Usage Category |  |  |  |  | Efficiency Metric |  | Minimum Efficiency (Energy Factor) |  |  | HPWH Efficiency (Energy Factor) |  |  | HPWH System Count |  |  | Total |  |  |  | Status |  | Base | [21 empty] | Unitary Air-Cooled | 0.25 | 10000
[24 empty] | #N/A | [21 empty] | Unitary Cooling | 0.25 | 10000
[24 empty] | #N/A | [21 empty] | Unitary Packaged | 0.25 | 10000
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
Note: D N Q means Does Not Qualify
Project Completion Date
[17 empty] | Rebate Total | 0
Rebates cannot exceed 50%
of the incremental measure cost.
Equipment sizing calculations (load calcs) may be requested as part of the application documentation.
Manufacturer's specification sheet showing AHRI IEER, ARI SEER2 or ARI IPLV must accompany the final application.
IPLV = Integrated Part Load Value, IEER = Integrated Energy Efficiency Ratio, SEER2 = Seasonal Energy Efficiency Ratio 2
COP = Coefficient of Performance, HSPF2 = Heating Seasonal Performance Factor 2
Measure Specifications
All work shall be performed in accordance with all applicable professional standards and comply with all applicable federal, state, and local laws, ordinances, codes and regulations.
Air-Cooled Air Conditioning and Heat Pumps New air-cooled air conditioning units or heat pumps that meet or exceed the qualifying Seasonal Energy Efficiency Ratio 2 (SEER2) or Integrated Energy Efficiency Ratio (IEER) shown in the Cooling Incentive Worksheet Table are eligible for an incentive. They can be either split systems or single packaged units. Evaporative coolers and water source heat pumps do not qualify under this program but may qualify under the Custom Incentive Program. All packaged and split system cooling equipment must meet Air-Conditioning, Heating and Refrigeration Institute (AHRI) standards (210/240, or 340/360), be UL listed, and use a minimum ozone-depleting refrigerant (e.g., HCFC or HFC). A manufacturer's specification sheet indicating the system SEER2/IEER must accompany the application. Final invoices must indicate the number of units and sizes with model numbers matching the specification sheets.
Water and Air-Cooled Chillers Chillers that have a rated kW/ton for the Integrated Part Load Value (IPLV) conditions that is less than or equal to the qualifying efficiency shown in the Incentive Table above are eligible for an incentive. The chiller efficiency rating must be based on AHRI Standard 550/590-2011 for IPLV conditions and not based on full-load conditions. The chillers must meet AHRI Standard 550/590-2011, be UL listed, and use a minimum ozone-depleting refrigerant (e.g., HCFC or HFC). The AHRI net capacity value should be used to determine the chiller tons. A manufacturer specification/performance sheet with the rated kW/Ton-IPLV or COP-IPLV must accompany the application. Final invoices must indicate chiller model number and quanity of chillers.
Programmable Thermostats Equipment must replace a non-programmable thermostat. Thermostat must be capable of 7-day, 5-2, or 5-1-1 programming. Programmable thermostats installed in hotel/motel guest rooms are not eligible for this incentive. A manufacturer's specification sheet must accompany the application. Final invoices must indicate model number and quanity.
Hotel Room Occupancy Controls Install HVAC control devices to automatically setback room temperature when the room is unoccupied. Acceptable technologies include passive and/or dual technology room occupancy sensors and room keycard activation. Room technologies may be incorporated into a front desk arrival system. Incentive is paid per rentable guest room. A manufacturer's specification sheet must accompany the application. Final invoices must indicate model number and quanity.
Carbon Monoxide (CO) Sensors New CO sensors installed to control parking garage exhaust fans are eligible for a rebate. Sensors must control fan motor on/off or VSD speed. New VFDs associated with this measure are eligible for an additional VFD incentive. Typical sensor coverage is approximately 7,000 to 10,000 square feet. CO levels shall be in compliance with state, municipal or local codes. A manufacturer's specification sheet must accompany the application. Final invoices must indicate the number of sensors with model numbers matching the specification sheets. A schedule indicating sensor type and installation location must also be submitted.
Carbon Dioxide (CO2) Sensors This measure utilizes demand-controlled ventilation by installing CO2 sensors to reduce the conditioning of outside air. CO2 sensors must control the ventilation system. Sensors used solely for data acquisition purposes are not eligible. Carbon dioxide sensor must be installed in conjunction with a controls-governed outside air damper. CO2 levels shall be in compliance with state, municipal, or local codes. Outside air CO2 reference sensors are ineligible. A manufacturer's specification sheet must accompany the application. Final invoices must indicate the number of sensors with model numbers matching the specification sheets. A schedule indicating sensor type and installation location must also be submitted.
Page 3 of 3 | HVAC Specifications & Worksheet
Measure Specifications, continued
Heat Pump Water Heaters Replace an existing electric water heater in a restaurant with a new heat pump water heater (HPWH). Qualifying systems shall have a minimum efficiency factor (EF) of not less than 2.31 and comply with AHRI 320, 325, 330, or 870 and shall have at least a minimum of one 80-gallon or greater storage tank. Final inspection by a TEP Inspector is required prior to qualify for a rebate. A manufacturer's specification sheet indicating the system EF, AHRI certifications, performance data, and storage tank data must accompany the application. Final invoices must indicate model number and quanity.
Economizers This measure consists of retrofitting air-side economizers on existing HVAC units. New HVAC units with economizers are eligible for rebate under certain conditions noted below. Economizer must be capable of modulating to full open position (95% or more). Replacement of existing economizers are not eligible for rebate, unless existing economizer has been non-functional for 2 years or more (pre-application required for existing economizer replacement). New HVAC units with economizer are not eligible for rebate where the economizer is required by ASHRAE 90.1-2010, which requires economizers on units on HVAC units unless specific efficiencies (per size class) are met. Incentives are based on capacity of retrofitted/new HVAC units with nominal capacities of 3, 4 and 5 tons only. An HVAC unit schedule must be submitted indicating the quantity, model number, capacity, and yes/no on existing economizer, proposed retrofit economizer model number. Final invoices must indicate economizer model number, quantity purchased/installed. Manufacturer's specification sheets for economizer(s) must be submitted.
Window Film This measure consists of adding window film to windows. This measure is applicable only to retrofit of existing facilites. Windows with east, south, and west exposures are eligible. Shading Coefficient (SC) must be 0.65 or less. (Shading Coefficient equals SHGC X 1.15. SHGC = Solar Heat Gain Coefficient) A window schedule must accompany the application indicating the quantity, current window type, actual window surface dimensions, window orientation, brand, model number of screen or window film material. Final invoices must indicate screen or window film material model number, quantity (square feet) of material purchased/installed. Manufacturer's specification sheets indicating the Shading Coefficient or the SHGC must also be submitted.
Shade Screens This measure consists of adding fixed exterior physical shading screens to windows. This measure is applicable only to retrofit of existing facilites. Windows with east, south, and west exposures are eligible. Shading Coefficient must be 0.30 or less at a thirty-degree profile angle. (Shading Coefficient equals SHGC X 1.15. SHGC = Solar Heat Gain Coefficient) Interior window shades such as blinds and drapes and movable door screens are not eligible. A window schedule must accompany the application indicating the quantity, current window type, actual window surface dimensions, window orientation, brand, model number of screen or window film material. Final invoices must indicate screen or window film material model number, quantity (square feet) of material purchased/installed. Manufacturer's specification sheets indicating the Shading Coefficient or the SHGC must also be submitted.
Variable Refrigerant Flow (VRF) Air Conditioning and Heat Pump Systems New VRF AC or Heat Pump systems installed as replacements for existing HVAC units/systems that meet or exceed the qualifying Energy Efficiency Ratio (EER) and Integrated Energy Efficiency Ratio (IEER) shown in the Incentives Table above are eligible for an incentive rebate. All VRF equipment must have efficiencies that have been determined using the rating method outlined in the Air-Conditioning, Heating and Refrigeration Institute (AHRI) standard 1230-2010, be UL listed, and use a minimum ozone-depleting refrigerant (e.g., HCFC or HFC). A manufacturer's specification sheet indicating the system EER and IEER must accompany the application. AHRI rating certificate of system must also be submitted. Final invoices must indicate the number of units and sizes with model numbers matching the specification sheets and AHRI certificates.
FOR OFFICE USE ONLY - REVIEWER NOTES
Reviewed By: | Date:
QC By: | Date:
[26 empty] | capped | [13 empty] | Size Category
[24 empty] | MeasureSize Category | Min Efficiency | Base Incentive | Efficiency Incentive | Min | Max | CAP | Capping Units |  | MeasureSize Category | Min Efficiency | Base Incentive | Min EER | Min IEER | Min COP | Measure | AC_Unit_Single_Phase | HP_Unit_Single_Phase | AC_Unit_Three_Phase | HP_Unit_Three_Phase | Chiller_Centrifugal | Chiller_Screw |  | Chiller_Reciprocating | Chiller_Air_Cooled | Programable_Thermostat | Heat_Pump_Water_Heater | Hotel_Room_Control_AC_Only | Hotel_Room_Control_Heat_Pumps | Add_Economizers | PTAC | PTHP | VRF Size | Heat Recovery / Gas Heat | CO2_Sensors | CO_Sensors | Window_Film | Shade_Screen | Window Location | Metric
[24 empty] | AC_Unit_Three_Phase<5.4_tons | 14.3 SEER2 |  | 50 | 14.3 | 30 |  |  |  | VRF_Air_Conditioners_Air_Cooled≥5.4 tons and <11.25 tons | 11.2 EER, 13.1 IEER | 50 | 11.2 | 13.1 |  | AC_Unit_Single_Phase | _2.0_tons_1Phase | _2.0_tons_1Phase | _2.0_tons | _2.0_tons | ≤150 | ≤150 |  | ≤150 | <150 | Grocery | Restaurant Full Service ≥ 80 Gallon Tank(s) | Dual Technology | Dual Technology | Unitary Air-Cooled PKG AC 3 ton | 9,000_btu/h | 9,000_btu/h | ≥5.4 tons and <11.25 tons | Yes | Full Service Restaurant | On/Off (Shopping/Airport Profile) | Emissivity < 0.67 | 80% Block | East | COP
[24 empty] | AC_Unit_Three_Phase5.4<11.25 tons | 15.99 IEER | 30 | 50 | 15.99 | 30 |  |  |  | VRF_Air_Conditioners_Air_Cooled≥11.25 tons and <20 tons | 11.0 EER, 12.9 IEER | 50 | 11 | 12.9 |  | HP_Unit_Single_Phase | _2.5_tons_1Phase | _2.5_tons_1Phase | _2.5_tons | _2.5_tons | 151-299 | 151-299 |  | 151-299 | ≥150 | Health/Medical | Restaurant Quick Service ≥ 80 Gallon Tank(s) | Passive Infrared | Passive Infrared | Unitary Air-Cooled PKG AC 4 ton | 12,000_btu/h | 12,000_btu/h | ≥11.25 tons and <20 tons | No | Hospital | VAV (Shopping/Airport Profile) | Emissivity = 0.67 | 90% Block | Southeast | Energy Factor
[24 empty] | AC_Unit_Three_Phase11.25<20 tons | 14.92 IEER | 20 | 50 | 14.92 | 30 |  |  |  | VRF_Air_Conditioners_Air_Cooled≥20 tons | 10.0 EER, 11.6 IEER | 50 | 10 | 11.6 |  | AC_Unit_Three_Phase | _3.0_tons_1Phase | _3.0_tons_1Phase | _3.0_tons | _3.0_tons | ≥300 | ≥300 |  | ≥300 |  | Lodging |  | Key Card Activation | Key Card Activation | Unitary Air-Cooled PKG AC 5 ton | 15,000_btu/h | 15,000_btu/h | ≥20 tons |  | Large Hotel | On/Off (Office/Events Profile) | Emissivity ≤ 0.82 |  | South
[24 empty] | AC_Unit_Three_Phase20<63.3 tons | 13.8 IEER | 20 | 50 | 13.8 | 30 |  |  |  | VRF_Heat_Pump_Air_cooled≥5.4 tons and <11.25 tonsYes | 10.8 EER, 12.7 IEER, 3.3 COP | 50 | 10.8 | 12.7 | 3.3 | HP_Unit_Three_Phase | _3.5_tons_1Phase | _3.5_tons_1Phase | _3.5_tons | _3.5_tons | [5 empty] | Office | [8 empty] | Large Office | VAV (Office/Events Profile) |  |  | Southwest
[24 empty] | AC_Unit_Three_Phase≥63.3_ tons | 12.75 IEER | 20 | 50 | 12.75 | 25 |  |  |  | VRF_Heat_Pump_Air_cooled≥11.25 tons and <20 tonsYes | 10.4 EER, 12.1 IEER, 3.2 COP | 50 | 10.4 | 12.1 | 3.2 | Chiller_Centrifugal | _4.0_tons_1Phase | _4.0_tons_1Phase | _4.0_tons | _4.0_tons | [5 empty] | Restaurant | [8 empty] | Medium Office |  |  |  | West
[24 empty] | HP_Unit_Three_Phase20<63.3_tons | 11 EER |  | 50 | 15 | 30 |  |  |  | VRF_Heat_Pump_Air_cooled≥20 tonsYes | 9.3 EER, 10.8 IEER, 3.2 COP | 50 | 9.3 | 10.8 | 3.2 | Chiller_Screw | _5.0_tons_1Phase | _5.0_tons_1Phase | _5.0_tons | _5.0_tons | [5 empty] | Retail | [8 empty] | Midrise Apartment
[24 empty] | HP_Unit_Three_Phase5.4<11.25 tons | 15.8 IEER | 30 | 50 | 15.8 | 30 |  |  |  | VRF_Heat_Pump_Air_cooled≥5.4 tons and <11.25 tonsNo | 11.0 EER, 12.9 IEER, 3.3 COP | 50 | 11 | 12.9 | 3.3 | Chiller_Reciprocating |  |  | 5.4<11.25 tons | 5.4<11.25 tons | [5 empty] | K-12_School | [8 empty] | Outpatient
[24 empty] | HP_Unit_Three_Phase11.25<20 tons | 14.7 IEER | 20 | 50 | 14.7 | 30 |  |  |  | VRF_Heat_Pump_Air_cooled≥11.25 tons and <20 tonsNo | 10.6 EER, 12.3 IEER, 3.2 COP | 50 | 10.6 | 12.3 | 3.2 | Chiller_Air_Cooled |  |  | 11.25<20 tons | 11.25<20 tons | [5 empty] | College/University | [8 empty] | Primary School
[24 empty] | HP_Unit_Three_Phase≥20_ tons | 15.2 IEER | 20 | 50 | 15.2 | 30 |  |  |  | VRF_Heat_Pump_Air_cooled≥20 tonsNo | 9.5 EER, 11.0 IEER, 3.2 COP | 50 | 9.5 | 11 | 3.2 | Hotel_Room_Control_AC_Only |  |  | 20<63.3 tons | ≥20_ tons | [5 empty] | Miscellaneous | [8 empty] | Quick Service Restaurant
[24 empty] | Chiller_Centrifugal≤150 | 0.558 IPLV | 7 | 200 | 0.2 | 0.5579 | 96.9517 | per ton | 193.9034 | VRF_Heat_Pump_Water_Source≥5.4 tons and <11.25 tonsYes | 11.8 EER, 4.2 COP | 50 | 11.8 |  | 4.2 | Hotel_Room_Control_Heat_Pumps |  |  | ≥63.3_ tons | [6 empty] | Warehouse | [8 empty] | Secondary School
[24 empty] | Chiller_Centrifugal151-299 | 0.558 IPLV | 7 | 200 | 0.2 | 0.5579 | 83.195 | per ton | 166.3901 | VRF_Heat_Pump_Water_Source≥11.25 tons and <20 tonsYes | 9.8 EER, 3.9 COP | 50 | 9.8 |  | 3.9 | Programable_Thermostat | [9 empty] | Process Industrial | [8 empty] | Small Hotel
[24 empty] | Chiller_Centrifugal≥300 | 0.503 IPLV | 6 | 200 | 0.2 | 0.50326 | 48.9126 | per ton | 97.8251 | VRF_Heat_Pump_Water_Source≥20 tonsYes | 9.8 EER, 3.9 COP | 50 | 9.8 |  | 3.9 | Add_Economizers | [9 empty] | Other Industrial | [8 empty] | Small Office
[24 empty] | Chiller_Screw≤150 | 0.676 IPLV | 7 | 200 | 0.2 | 0.67635 | 191.2831 | per ton | 382.5661 | VRF_Heat_Pump_Water_Source≥5.4 tons and <11.25 tonsNo | 12.0 EER, 4.2 COP | 50 | 12 |  | 4.2 | CO_Sensors | [18 empty] | Strip Mall
[24 empty] | Chiller_Screw151-299 | 0.599 IPLV | 7 | 200 | 0.2 | 0.59911 | 69.4384 | per ton | 138.8767 | VRF_Heat_Pump_Water_Source≥11.25 tons and <20 tonsNo | 10.0 EER, 3.9 COP | 50 | 10 |  | 3.9 | CO2_Sensors | Size | [23 empty] | Supermarket
[24 empty] | Chiller_Screw≥300 | 0.545 IPLV | 6 | 200 | 0.2 | 0.54536 | 47.6024 | per ton | 95.2048 | VRF_Heat_Pump_Water_Source≥20 tonsNo | 10.0 EER, 3.9 COP | 50 | 10 |  | 3.9 |  | 2_tons | 2.5_tons | 3_tons | 3.5_tons | 4_tons | 5_tons | 2.0_tons_1Phase | 2.5_tons_1Phase | 3.0_tons_1Phase | 3.5_tons_1Phase | 4.0_tons_1Phase | 5.0_tons_1Phase | <5.4_tons |  | 9,000_btu/h | 12,000_btu/h | 15,000_btu/h
[24 empty] | Chiller_Reciprocating≤150 | 0.696 IPLV | 5 | 200 | 0.2 | 0.69644 | 9.8047 | per ton | 19.6093 | VRF_Heat_Pump_Groundwater_Source≥5.4 tons and <11.25 tonsYes | 16.0 EER, 3.6 COP | 50 | 16 |  | 3.6 |  | 14.3_SEER2 | 14.3_SEER2 | 14.3_SEER2 | 14.3_SEER2 | 14.3_SEER2 | 14.3_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 14.3_SEER2
[24 empty] | Chiller_Reciprocating151-299 | 0.696 IPLV | 5 | 200 | 0.2 | 0.69644 | 9.8047 | per ton | 19.6093 | VRF_Heat_Pump_Groundwater_Source≥11.25 tons and <20 tonsYes | 13.6 EER, 3.3 COP | 50 | 13.6 |  | 3.3 |  | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 15.2_SEER2
[24 empty] | Chiller_Reciprocating≥300 | 0.696 IPLV | 5 | 200 | 0.2 | 0.69644 | 9.8047 | per ton | 19.6093 | VRF_Heat_Pump_Groundwater_Source≥20 tonsYes | 13.6 EER, 3.3 COP | 50 | 13.6 |  | 3.3 | Heat_Pump_Water_Heater | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | 16.2_SEER2
[24 empty] | Chiller_Air_Cooled<150 | 1.041 IPLV | 3.333 | 100 | 0.2 | 1.0417 | 30.5519 | per ton | 61.1038 | VRF_Heat_Pump_Groundwater_Source≥5.4 tons and <11.25 tonsNo | 16.2 EER, 3.6 COP | 50 | 16.2 |  | 3.6 |  | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | [6 empty] | ≥17.1_SEER2
[24 empty] | Chiller_Air_Cooled≥150 | 1.062 IPLV | 7.792 | 116.88 | 0.2 | 1.0625 | 31.3329 | per ton | 62.6657 | VRF_Heat_Pump_Groundwater_Source≥11.25 tons and <20 tonsNo | 13.8 EER. 3.3 COP | 50 | 13.8 |  | 3.3 | VRF_Air_Conditioners_Air_Cooled
[24 empty] | Programable_ThermostatGrocery | per Unit | 130 | #N/A | #N/A | #N/A |  |  |  | VRF_Heat_Pump_Groundwater_Source≥20 tonsNo | 13.8 EER. 3.3 COP | 50 | 13.8 |  | 3.3 | VRF_Heat_Pump_Air_cooled
[24 empty] | Programable_ThermostatHealth/Medical | per Unit | 130 | #N/A | #N/A | #N/A |  |  |  | VRF_Heat_Pump_Ground_Source≥5.4 tons and <11.25 tonsYes | 13.2 EER, 3.1 COP | 50 | 13.2 |  | 3.1 | VRF_Heat_Pump_Water_Source
[24 empty] | Programable_ThermostatLodging | per Unit | 130 | #N/A | #N/A | #N/A |  |  |  | VRF_Heat_Pump_Ground_Source≥11.25 tons and <20 tonsYes | 10.8 EER, 2.8 COP | 50 | 10.8 |  | 2.8 | VRF_Heat_Pump_Groundwater_Source
[24 empty] | Programable_ThermostatOffice | per Unit | 130 | #N/A | #N/A | #N/A |  |  |  | VRF_Heat_Pump_Ground_Source≥20 tonsYes | 10.8 EER, 2.8 COP | 50 | 10.8 |  | 2.8 | VRF_Heat_Pump_Ground_Source
[24 empty] | Programable_ThermostatRestaurant | per Unit | 130 | #N/A | #N/A | #N/A |  |  |  | VRF_Heat_Pump_Ground_Source≥5.4 tons and <11.25 tonsNo | 13.4 EER, 3.1 COP | 50 | 13.4 |  | 3.1
[24 empty] | Programable_ThermostatRetail | per Unit | 130 | #N/A | #N/A | #N/A |  |  |  | VRF_Heat_Pump_Ground_Source≥11.25 tons and <20 tonsNo | 11.0 EER, 2.8 COP | 50 | 11 |  | 2.8 | Shade_Screen
[24 empty] | Programable_ThermostatK-12_School | per Unit | 130 | #N/A | #N/A | #N/A |  |  |  | VRF_Heat_Pump_Ground_Source≥20 tonsNo | 11.0 EER, 2.8 COP | 50 | 11 |  | 2.8
[24 empty] | Programable_ThermostatCollege/University | per Unit | 130 | #N/A | #N/A | #N/A
[24 empty] | Programable_ThermostatMiscellaneous | per Unit | 130 | #N/A | #N/A | #N/A
[24 empty] | Programable_ThermostatWarehouse | per Unit | 130 | #N/A | #N/A | #N/A
[24 empty] | Programable_ThermostatProcess Industrial | per Unit | 130 | #N/A | #N/A | #N/A
[24 empty] | Programable_ThermostatOther Industrial | per Unit | 130 | #N/A | #N/A | #N/A
[24 empty] | AC_Unit_Single_Phase_2.0_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Single_Phase_2.5_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Single_Phase_3.0_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Single_Phase_3.5_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Single_Phase_4.0_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Single_Phase_5.0_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Single_Phase_2.0_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Single_Phase_2.5_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Single_Phase_3.0_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Single_Phase_3.5_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Single_Phase_4.0_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Single_Phase_5.0_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Single_Phase_2.0_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | AC_Unit_Single_Phase_2.5_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | AC_Unit_Single_Phase_3.0_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | AC_Unit_Single_Phase_3.5_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | AC_Unit_Single_Phase_4.0_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | AC_Unit_Single_Phase_5.0_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Single_Phase_2.0_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Single_Phase_2.5_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Single_Phase_3.0_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Single_Phase_3.5_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Single_Phase_4.0_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Single_Phase_5.0_tons_1Phase15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Single_Phase_2.0_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Single_Phase_2.5_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Single_Phase_3.0_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Single_Phase_3.5_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Single_Phase_4.0_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Single_Phase_5.0_tons_1Phase16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Single_Phase_2.0_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Single_Phase_2.5_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Single_Phase_3.0_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Single_Phase_3.5_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Single_Phase_4.0_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Single_Phase_5.0_tons_1Phase≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | Heat_Pump_Water_HeaterRestaurant Full Service | 3.00 COP | 950 | #N/A | 3 | 14
[24 empty] | Heat_Pump_Water_HeaterRestaurant Quick Service | 3.00 COP | 950 | #N/A | 3 | 14
[24 empty] | Hotel_Room_Control_AC_OnlyDual Technology | per Unit | 75 | #N/A | #N/A | #N/A
[24 empty] | Hotel_Room_Control_AC_OnlyPassive Infrared | per Unit | 75 | #N/A | #N/A | #N/A
[24 empty] | Hotel_Room_Control_AC_OnlyKey Card Activation | per Unit | 75 | #N/A | #N/A | #N/A
[25 empty] | under_5.4_tons | #N/A | #N/A | 15 | 30
[24 empty] | Hotel_Room_Control_Heat_PumpsDual Technology | per Unit | 75 | #N/A | #N/A | #N/A
[24 empty] | Hotel_Room_Control_Heat_PumpsPassive Infrared | per Unit | 75 | #N/A | #N/A | #N/A
[24 empty] | Hotel_Room_Control_Heat_PumpsKey Card Activation | per Unit | 75 | #N/A | #N/A | #N/A
[24 empty] | Add_EconomizersUnitary Air-Cooled PKG AC 3 ton | 9.54 EER | 80 | #N/A | 9.54 | 30
[24 empty] | Add_EconomizersUnitary Air-Cooled PKG AC 4 ton | 9.54 EER | 80 | #N/A | 9.54 | 30
[24 empty] | Add_EconomizersUnitary Air-Cooled PKG AC 5 ton | 9.57 EER | 80 | #N/A | 9.57 | 30
[24 empty] | Heat_Pump_Water_Heater |  | 950
[24 empty] | PTAC9,000_btu/h | 11.18 EER | 20 | #N/A | 11.18 | 30
[24 empty] | PTAC12,000_btu/h | 10.54 EER | 30 | #N/A | 10.54 | 30
[24 empty] | PTAC15,000_btu/h | 9.91 EER | 50 | #N/A | 9.91 | 30
[24 empty] | PTHP9,000_btu/h | 11.18 EER | 20 | #N/A | 11.18 | 30
[24 empty] | PTHP12,000_btu/h | 10.54 EER | 30 | #N/A | 10.54 | 30
[24 empty] | PTHP15,000_btu/h | 9.91 EER | 50 | #N/A | 9.91 | 30
[24 empty] | CO2_SensorsFull Service Restaurant | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsHospital | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsLarge Hotel | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsLarge Office | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsMedium Office | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsMidrise Apartment | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsOutpatient | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsPrimary School | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsQuick Service Restaurant | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsSecondary School | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsSmall Hotel | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsSmall Office | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsStrip Mall | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO2_SensorsSupermarket | per Sensor | 475 | #N/A | #N/A | #N/A
[24 empty] | CO_SensorsOn/Off (Shopping/Airport Profile) | per Sensor | 1000 | #N/A | #N/A | #N/A
[24 empty] | CO_SensorsVAV (Shopping/Airport Profile) | per Sensor | 1000 | #N/A | #N/A | #N/A
[24 empty] | CO_SensorsOn/Off (Office/Events Profile) | per Sensor | 1000 | #N/A | #N/A | #N/A
[24 empty] | CO_SensorsVAV (Office/Events Profile) | per Sensor | 1000 | #N/A | #N/A | #N/A
[24 empty] | Window_Film | per Square Foot | 1 | #N/A | #N/A | 0.65
[24 empty] | Shade_Screen | per Square Foot | 2 | #N/A | #N/A | 0.3
[24 empty] | AC_Unit_Three_Phase<5.4_tons15_SEER | 15.0 SEER | #N/A | #N/A | 15 | 15.99
[24 empty] | AC_Unit_Three_Phase<5.4_tons16_SEER | 16.0 SEER | #N/A | #N/A | 16 | 16.99
[24 empty] | AC_Unit_Three_Phase<5.4_tons17_SEER | 17.0 SEER | #N/A | #N/A | 17 | 17.99
[24 empty] | AC_Unit_Three_Phase<5.4_tons≥18_SEER | 18.0 SEER | #N/A | #N/A | 18 | 30
[24 empty] | HP_Unit_Three_Phase<5.4_tons15_SEER | 15.0 SEER | #N/A | #N/A | 15 | 15.99
[24 empty] | HP_Unit_Three_Phase<5.4_tons16_SEER | 16.0 SEER | #N/A | #N/A | 16 | 16.99
[24 empty] | HP_Unit_Three_Phase<5.4_tons17_SEER | 17.0 SEER | #N/A | #N/A | 17 | 17.99
[24 empty] | HP_Unit_Three_Phase<5.4_tons≥18_SEER | 18.0 SEER | #N/A | #N/A | 18 | 30
[24 empty] | AC_Unit_Three_Phase_2.0_tons14.3_SEER2 | 14.3 SEER2 | 135 | #N/A | 14.3 | 15.19
[24 empty] | AC_Unit_Three_Phase_2.5_tons14.3_SEER2 | 14.3 SEER2 | 135 | #N/A | 14.3 | 15.19
[24 empty] | AC_Unit_Three_Phase_3.0_tons14.3_SEER2 | 14.3 SEER2 | 135 | #N/A | 14.3 | 15.19
[24 empty] | AC_Unit_Three_Phase_3.5_tons14.3_SEER2 | 14.3 SEER2 | 135 | #N/A | 14.3 | 15.19
[24 empty] | AC_Unit_Three_Phase_4.0_tons14.3_SEER2 | 14.3 SEER2 | 135 | #N/A | 14.3 | 15.19
[24 empty] | AC_Unit_Three_Phase_5.0_tons14.3_SEER2 | 14.3 SEER2 | 135 | #N/A | 14.3 | 15.19
[24 empty] | AC_Unit_Three_Phase_2.0_tons15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Three_Phase_2.5_tons15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Three_Phase_3.0_tons15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Three_Phase_3.5_tons15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Three_Phase_4.0_tons15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Three_Phase_5.0_tons15.2_SEER2 | 15.2 SEER2 | 275 | #N/A | 15.2 | 16.19
[24 empty] | AC_Unit_Three_Phase_2.0_tons16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Three_Phase_2.5_tons16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Three_Phase_3.0_tons16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Three_Phase_3.5_tons16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Three_Phase_4.0_tons16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Three_Phase_5.0_tons16.2_SEER2 | 16.2 SEER2 | 400 | #N/A | 16.2 | 17.09
[24 empty] | AC_Unit_Three_Phase_2.0_tons≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | AC_Unit_Three_Phase_2.5_tons≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | AC_Unit_Three_Phase_3.0_tons≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | AC_Unit_Three_Phase_3.5_tons≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | AC_Unit_Three_Phase_4.0_tons≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | AC_Unit_Three_Phase_5.0_tons≥17.1_SEER2 | 17.1 SEER2 | 550 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Three_Phase_2.0_tons14.3_SEER2 | 14.3 SEER2 | 95 | #N/A | 14.3 | 15.19
[24 empty] | HP_Unit_Three_Phase_2.5_tons14.3_SEER2 | 14.3 SEER2 | 95 | #N/A | 14.3 | 15.19
[24 empty] | HP_Unit_Three_Phase_3.0_tons14.3_SEER2 | 14.3 SEER2 | 95 | #N/A | 14.3 | 15.19
[24 empty] | HP_Unit_Three_Phase_3.5_tons14.3_SEER2 | 14.3 SEER2 | 95 | #N/A | 14.3 | 15.19
[24 empty] | HP_Unit_Three_Phase_4.0_tons14.3_SEER2 | 14.3 SEER2 | 95 | #N/A | 14.3 | 15.19
[24 empty] | HP_Unit_Three_Phase_5.0_tons14.3_SEER2 | 14.3 SEER2 | 95 | #N/A | 14.3 | 15.19
[24 empty] | HP_Unit_Three_Phase_2.0_tons15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Three_Phase_2.5_tons15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Three_Phase_3.0_tons15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Three_Phase_3.5_tons15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Three_Phase_4.0_tons15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Three_Phase_5.0_tons15.2_SEER2 | 15.2 SEER2 | 195 | #N/A | 15.2 | 16.19
[24 empty] | HP_Unit_Three_Phase_2.0_tons16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Three_Phase_2.5_tons16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Three_Phase_3.0_tons16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Three_Phase_3.5_tons16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Three_Phase_4.0_tons16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Three_Phase_5.0_tons16.2_SEER2 | 16.2 SEER2 | 295 | #N/A | 16.2 | 17.09
[24 empty] | HP_Unit_Three_Phase_2.0_tons≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Three_Phase_2.5_tons≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Three_Phase_3.0_tons≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Three_Phase_3.5_tons≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Three_Phase_4.0_tons≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
[24 empty] | HP_Unit_Three_Phase_5.0_tons≥17.1_SEER2 | 17.1 SEER2 | 395 | #N/A | 17.1 | 30
AC_Unit_Single_Phase_2.0_tons_1Phase
AC_Unit_Single_Phase_2.5_tons_1Phase
AC_Unit_Single_Phase_3.0_tons_1Phase
AC_Unit_Single_Phase_3.5_tons_1Phase
AC_Unit_Single_Phase_4.0_tons_1Phase
AC_Unit_Single_Phase_5.0_tons_1Phase
HP_Unit_Single_Phase_2.0_tons_1Phase
HP_Unit_Single_Phase_2.5_tons_1Phase
HP_Unit_Single_Phase_3.0_tons_1Phase
HP_Unit_Single_Phase_3.5_tons_1Phase
HP_Unit_Single_Phase_4.0_tons_1Phase
HP_Unit_Single_Phase_5.0_tons_1Phase
AC_Unit_Three_Phase_2.0_tons
AC_Unit_Three_Phase_2.5_tons
AC_Unit_Three_Phase_3.0_tons
AC_Unit_Three_Phase_3.5_tons
AC_Unit_Three_Phase_4.0_tons
AC_Unit_Three_Phase_5.0_tons
HP_Unit_Three_Phase_2.0_tons
HP_Unit_Three_Phase_2.5_tons
HP_Unit_Three_Phase_3.0_tons
HP_Unit_Three_Phase_3.5_tons
HP_Unit_Three_Phase_4.0_tons
HP_Unit_Three_Phase_5.0_tons
Note on A45: Measure installed: Air Conditioners Heat Pumps Chillers Programmable Thermostats Economizers Sensors Hotel Room Controls
Note on G45: Capacity of cooling equipment in tons. For Thermostats and CO2 sensors select building type. For hotel room controls select technology. For CO sensors select variable air volume or on/off.
Note on K45: For single phase and three phase equipment less than 5.4 tons select SEER rating. No entry required for 3 Phase equipment > 5.4 tons.
Note on M45: For equipment <5.4 tons enter HSPF. Minimum HSPF = 7.7. For equipment >= 5.4 tons enter COP. Minimum COP=3.1
Note on O45: Enter equipment size in tons. No entry need if cell has been blacked out.
Note on S45: Minimum Cooling Efficiency required to qualify for a rebate. If value not given no minimum efficiency to qualify, however some measures will still require an entry.
Note on U45: Enter Cooling Efficiency Of Installed Equipment in EER or IPLV. Not required if the cell has been blacked out.
Note on W45: Number of units installed.
Note on A67: Window treatment measure installed: Shade Screens or Window Film
Note on G67: Does the faciliity have gas heat? Yes or No.
Note on I67: % block for Shade Screens or emisivity for Window Film
Note on L67: North, North East, North West facing windows do not qualify.
Note on O67: Maximum Shading Coefficient to qualify for a rebate. -Shading Coefficient equals SHGC X 1.15 -SHGC = Solar Heat Gain Coefficient
Note on Q67: Must be 0.30 or less for Shade Screens and 0.65 or less for Window Film
Note on S67: Area of the window covered in square feet. (Width x Height)
Note on A78: Heat Pump Water Heater
Note on H78: Select Usage Category - Full Service Restaurant or Quick Service Restaurant.
Note on M78: The metric used to rate the efficiency of a heat pump water heater. Energy Factor (EF).
Note on O78: Minimum Efficiency required to qualify for a rebate.
Note on R78: Enter Efficiency Of Installed Equipment
Note on U78: Number of Heat Pump Water Heaters installed.