## Cover
Business Energy Solutions
2026 Rebate Application
Prescriptive Measures for Existing Facilities
HVAC
Submit application to:
TEP Business Energy Solutions
Tel: 1-866-473-8761
tepbes@franklinenergy.com
Application Process
1. Submit a Pre-Notification Application.
2. Install the qualified technology.
3. Submit a complete, signed Final Application with all documentation.
4. Receive incentive check within 6 weeks of Final Application approval.
Last Modified: 3/1/2026
Funded by TEP customers and approved by the Arizona Corporation Commission

## HVAC
TEP - Prescriptive Application | [8 empty] | For HELP hover mouse over grey cells with a red triangle in the upper right corner for additional information. Yellow and light green shaded cells indicate Data Entry.
HVAC Worksheet |  |  | 2026-01-01
Project Name: | [10 empty] | TEP Account #:
Incentives: HVAC, Controls, Sensors, and Shade Screen Measures
Measure | Minimum Efficiency |  | Size Category (in tons)
|  |  | 0.75 | 1 | 1.25 | 2 | 2.5 | 3 | 3.5 | 4 | 5 | 5.4 - 11.25 | 11.25 ≤ 20 | 20 < 63.3 | ≥63.3 | < 75 | 75 < 150 | 150-299 | 300-399 | 400-599 | > 600
Air Conditioning (Single and Three Phase <5.4 tons) | 15.2 SEER2 |  |  |  |  | $15/ton
Air Conditioning (Single and Three Phase <5.4 tons) | 16.2 SEER2 |  |  |  |  | $30/ton
Air Conditioning (Single and Three Phase <5.4 tons) | 17.1 SEER2 |  |  |  |  | $40/ton
Heat Pumps (Single and Three Phase <5.4 tons) | 15.2 SEER2 |  |  |  |  | $15/ton
Heat Pumps (Single and Three Phase <5.4 tons) | 16.2 SEER2 |  |  |  |  | $30/ton
Heat Pumps (Single and Three Phase <5.4 tons) | 17.1 SEER2 |  |  |  |  | $40/ton
Air Conditioning (Three Phase) | 15.99 IEER | [10 empty] | $30/ton1
Air Conditioning (Three Phase) | 14.92 IEER | [11 empty] | $20/ton1
Air Conditioning (Three Phase) | 13.8 IEER | [12 empty] | $20/ton1
Air Conditioning (Three Phase) | 12.75 IEER | [13 empty] | $20/ton1
Heat Pumps (Three Phase) | 15.8 IEER | [10 empty] | $30/ton1
Heat Pumps (Three Phase) | 14.7 IEER | [11 empty] | $20/ton1
Heat Pumps (Three Phase) | 15.2 IEER | [12 empty] | $20/ton1
Minisplit AC | 18.64 SEER |  | $16/kbtu ($192/ton)
Minisplit HP | 19.45 SEER |  | $12/kbtu ($144/ton)
Centrifugal Chiller | 0.396 IPLV | [14 empty] | $10/ton2
Centrifugal Chiller | 0.36 IPLV | [16 empty] | $10/ton2
Centrifugal Chiller | 0.351 IPLV | [17 empty] | $10/ton2
Centrifugal Chiller | 0.342 IPLV | [18 empty] | $10/ton2
Centrifugal Chiller | 0.342 IPLV | [19 empty] | $10/ton2
Positive Displacement Chiller | 0.45 IPLV | [14 empty] | $10/ton2
Positive Displacement Chiller | 0.441 IPLV | [15 empty] | $10/ton2
Positive Displacement Chiller | 0.396 IPLV | [16 empty] | $10/ton2
Positive Displacement Chiller | 0.369 IPLV | [17 empty] | $10/ton2 |  |  |  | $/ton | Current CAPPING | Required Capping | Base | BASE TOTAL | EFF | EFF INC | EFF TOTAL | TOTAL
Positive Displacement Chiller | 0.342 IPLV | [19 empty] | $10/ton2 |  | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
Air Cooled Chiller | 0.796 IPLV | [14 empty] | $20/ton3 | [6 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
Air Cooled Chiller | 0.779 IPLV | [16 empty] | $20/ton3 |  |  |  |  | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
Add Economizers (3, 4 and 5 ton units only) | See Calculator below | [6 empty] | $45/ton |  | $45/ton | $45/ton | [11 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
[23 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
Programmable Thermostat | $115 per HVAC unit | [9 empty] | Rebates in above chart are in dollars. | [11 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
Hotel Room Control | $75 per room | [9 empty] | 1. Additional efficiency incentive of $50/ton may apply. Some combinations may be capped. | [11 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
CO Sensors | $1000 per sensor | [9 empty] | 2. Additional efficiency incentive of $300/ton may apply. Some combinations may be capped. | [11 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
CO2 Sensors | $375 per sensor | [9 empty] | 3. Additional efficiency incentive of $200/ton may apply. Some combinations may be capped. | [11 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
Shade Screens | $2 per square foot | [21 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
Advanced Rooftop Controls | $235 per ton controlled | [21 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
[23 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
[23 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
[23 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE!
[23 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE! | [13 empty] | cap float per ton
[23 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE! | [12 empty] | Incremental cost per ton | 0.75 | [5 empty] | -10% | +10%
Yellow Box: Click in box and select from drop down menu | [5 empty] | Green Box: requires a number to be entered | [6 empty] | White Box: No entry required | [9 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE! | [10 empty] | AC_Unit_Three_Phase_5.39 | 5.39 | 46.15 | 34.6125 | _5.39 |  | Size | Min | Max | MIN BTUH | MAX BTUH
[23 empty] | #VALUE! |  |  |  | #VALUE! | #N/A |  | #VALUE! | #VALUE! | [10 empty] | AC_Unit_Three_Phase_11.24 | 11.249 | 85.3261 | 63.9946 | _11.24 |  | _0.58_tons | 0.58 | 0.74 | 6264 | 9768
Calculator: AC, HP, Minisplits, Chillers, Economizers, Thermostats, Sensors | [41 empty] | AC_Unit_Three_Phase_19.9 | 19.99 | 56.3348 | 42.2511 | _19.9 |  | _0.75_tons | 0.75 | 0.99 | 8100 | 13068 | [13 empty] | QC |  | These are ESP results in red, this sheet acts weird too though with low efficiencies
Measure | Size/Usage Category |  |  |  | SEER2 Rating |  | Heating Effciency (COP or HSPF) |  | Actual Size (Btuh) |  | Size in Tons |  | Minimum Efficiency |  | System/Unit Efficiency (IEER or IPLV) |  | Quantity |  | Total |  |  | Type | Complete? | IS ERROR | Size ERROR | Efficiency ERROR | Uncapped | Wrong CAT Error for Single Phase AND Three Phase <5.4 Tons |  |  | low efficiency allowed | eligibility threshold |  |  | Published Efficiency Threshold | Base | Eff Inc |  | Capping per UNIT | Chiller Tier 2 Eff | Chiller Tier | AC_Unit_Three_Phase_63.2 | 63.29 | 48.9841 | 36.738 | _63.2 |  | _1.00_tons | 1 | 1.24 | 10800 | 16368 | [13 empty] | base inc | additional inc | below min eff check | [5 empty] | alt sizes |  |  | base inc | additional inc
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | AC_Unit_Three_Phase_100 | 10000 | 27.4467 | 20.585 | _100 |  | _1.25_tons | 1.25 | 1.5 | 13500 | 19800 | [13 empty] | √ | √ | 15.5 SEER2 returns an incentive |  |  | Good | set 15.2 SEER2 min in ESP
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | HP_Unit_Three_Phase_5.39 | 5.39 | 72.81 | 54.6075 | _5.39 |  | _2.0_tons | 0 | 2.499 | 0 | 32986.8 | [13 empty] | √ | √ | ok for low efficiencies
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | HP_Unit_Three_Phase_11.24 | 11.249 | 96.1896 | 72.1422 | _11.24 |  | _2.0_tons_1Phase | 0 | 2.499 | 0 | 32986.8 | [13 empty] | √ | √ | ? hi incentives for low efficiencies (< min eff) |  |  | Good | updated incentives for $15/30/40 base, removed kicker
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | HP_Unit_Three_Phase_19.9 | 19.99 | 71.4502 | 53.5876 | _19.9 |  | _2.5_tons | 2.5 | 2.999 | 27000 | 39586.8 | [13 empty] | √ | √ | ? hi incentives for low efficiencies (< min eff) |  |  | Good | updated incentives for $15/30/40 base, removed kicker
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | HP_Unit_Three_Phase_63.2 | 63.29 | 146.9181 | 110.1886 | _63.2 |  | _2.5_tons_1Phase | 2.5 | 2.999 | 27000 | 39586.8 | [13 empty] | √ | √ | ok for low efficiencies |  |  |  |  | 10 | 15 | 22
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | HP_Unit_Three_Phase_100 | 10000 | 146.9181 | 110.1886 | _100 |  | _3.0_tons | 3 | 3.499 | 32400 | 46186.8 | [13 empty] | √ | √ | caps at $10K in ESP, not this worksheet |  |  | Good | updated ESP placeholder cost to 100k (realistically shouldn't cap) | 10 | 15 | 60 |  | X | √ | 10,15 ton not working at min IEER in ESP | corrected ESP for 10, 15 ton
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [15 empty] | _3.0_tons_1Phase | 3 | 3.499 | 32400 | 46186.8 | [13 empty] | X |  | wks works for less than min eff |  |  | ESP is per ton not BTU | ESP input is per kBtu, not Tons. same incentive as wks | needs a minimum
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [10 empty] | Tier1 Increm | Tier2 Increm | Tier 1 Cap | Tier 2 Cap |  | _3.5_tons | 3.5 | 3.999 | 37800 | 52786.8 | [13 empty] | X |  | wks works for less than min eff |  |  | ESP is per ton not BTU | ESP input is per kBtu, not Tons. same incentive as wks | needs a minimum
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | Chiller_Centrifugal<150 | 83.0856 | 155.9769 | 62.3142 | 116.9827 |  | _3.5_tons_1Phase | 3.5 | 3.999 | 37800 | 52786.8 | [13 empty] | √ | √ | 200ton doesn't work at 0.34 IPLV?100 at .37 IPLV in wks, ESP does work |  |  | Good | corrected wks |  | 100 | 200 | 350 | 500 | 1000
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | Chiller_Centrifugal150-299 | 61.5659 | 105.7175 | 46.1744 | 79.2882 |  | _4.0_tons | 4 | 4.999 | 43200 | 65986.8 | [13 empty] | √ | √ | [5 empty] | 50 | 100 | 200 |  | 500 | 1000
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | Chiller_Centrifugal300-399 | 61.4157 | 90.4268 | 46.0617 | 67.8201 |  | _4.0_tons_1Phase | 4 | 4.999 | 43200 | 65986.8
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | Chiller_Centrifugal400-599 | 42.9499 | 94.2449 | 32.2124 | 70.6837 |  | _5.0_tons | 5 | 5.999 | 54000 | 79186.8 | [13 empty] | √ | √ | [5 empty] | 100 | 200
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | Chiller_Centrifugal≥ 600 | 26.3242 | 74.8476 | 19.7431 | 56.1357 |  | _5.0_tons_1Phase | 5 | 5.999 | 54000 | 79186.8 | [13 empty] | √
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | Chiller_Positive_Displacement<75 | 101.3908 | 185.4184 | 76.0431 | 139.0638 |  | <150 | 0 | 149.99 | 0 | 1979868 | [13 empty] | √
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | Chiller_Positive_Displacement75-149 | 90.0599 | 153.5838 | 67.5449 | 115.1879 |  | <5.4_tons | 0.25 | 5.3999 | 2700 | 71278.68 | [13 empty] | √
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | Chiller_Positive_Displacement150-299 | 77.4415 | 129.7218 | 58.0811 | 97.2913 |  | <6 Tons | 0.25 | 5.99 | 2700 | 79068 | [13 empty] | √
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | Chiller_Positive_Displacement300-599 | 63.5357 | 113.8323 | 47.6518 | 85.3742 |  | ≤150 | 0 | 150 | 0 | 1980000 | [13 empty] | √
[25 empty] | FALSE | FALSE |  |  |  |  | #N/A | #N/A | [9 empty] | Chiller_Positive_Displacement≥ 600 | 48.3425 | 105.9153 | 36.2569 | 79.4365 |  | ≥11.25 tons and <20 tons | 11.25 | 19.99 | 121500 | 263868
[21 empty] | Note: D N Q means Does Not Qualify | [20 empty] | Chiller_Air_Cooled<150 | 113.3583 | 204.5812 | 85.0187 | 153.4359 |  | ≥150 | 150 | 10000 | 1620000 | 132000000
Page 2 of 3 | HVAC Specifications & Worksheet | [40 empty] | Chiller_Air_Cooled≥150 | 87.3526 | 118.6137 | 65.5144 | 88.9603 |  | ≥20 Tons | 20 | 10000 | 216000 | 132000000
Calculator: Shade Screens | [47 empty] | ≥20_ tons | 20 | 10000 | 216000 | 132000000
Measure | Gas Heat |  | Category |  |  | Window Location |  |  | Max Shading Coefficient |  | Shading Coefficient |  | Total Square Footage |  |  |  | Total |  |  |  |  | Status | Shading Coef error | IS ERROR | Mismatch Category? | [22 empty] | ≥ 600 | 600 | 10000 | 6480000 | 132000000
[23 empty] | FALSE |  | FALSE | [22 empty] | ≥5.4 tons and <11.25 tons | 5.4 | 11.2499 | 58320 | 148498.68 | [13 empty] | √
[23 empty] | FALSE |  | FALSE | [22 empty] | ≥63.3_ tons | 63.3 | 10000 | 683640 | 132000000
[23 empty] | FALSE |  | FALSE | [22 empty] | 11 < 20 Tons | 11 | 19.99 | 118800 | 263868
[23 empty] | FALSE |  | FALSE | [22 empty] | 11.25<20 tons | 11.25 | 19.99 | 121500 | 263868
[23 empty] | FALSE |  | FALSE | [22 empty] | 150-299 | 150 | 299.999 | 1620000 | 3959986.8
[23 empty] | FALSE |  | FALSE | [22 empty] | 20<63.3 tons | 20 | 63.299 | 216000 | 835546.8
[23 empty] | FALSE |  | FALSE | [22 empty] | 5.4<11.25 tons | 5.4 | 11.2499 | 58320 | 148498.68
[23 empty] | FALSE |  | FALSE | [22 empty] | 6<11 Tons | 6 | 10.99 | 64800 | 145068
[21 empty] | Note: D N Q means Does Not Qualify | [29 empty] | 0 | 0
Calculator: Advanced Rooftop Controls | [50 empty] | 0 | 0
Measure |  | Building Type |  |  |  |  | Nominal Tons of Controlled RTU Unit |  |  |  | SEER2 (if available) |  |  |  | Total | [7 empty] | Status |  | Base | [22 empty] | Unitary Air-Cooled PKG AC 3 ton | 3 | 3 | 32400 | 39600
[25 empty] | 0 | [22 empty] | Unitary Air-Cooled PKG AC 4 ton | 4 | 4 | 43200 | 52800 | [13 empty] | √
[25 empty] | 0 | [22 empty] | Unitary Air-Cooled PKG AC 5 ton | 5 | 5 | 54000 | 66000 | [13 empty] | √
[25 empty] | 0 | [22 empty] | 300-399 | 300 | 399.999 | 3240000 | 5279986.8
[25 empty] | 0 | [22 empty] | 400-599 | 400 | 599.999 | 4320000 | 7919986.8
[25 empty] | 0 | [22 empty] | <75 | 0 | 74.999 | 0 | 989986.8
[25 empty] | 0 | [22 empty] | 75-149 | 75 | 149.999 | 810000 | 1979986.8
[25 empty] | 0 | [22 empty] | 300-599 | 300 | 599.999 | 3240000 | 7919986.8
0
0
0
Note: D N Q means Does Not Qualify
Project Completion Date
[17 empty] | Rebate Total | 0
Rebates cannot exceed 75%
of the incremental measure cost.
Equipment sizing calculations (load calcs) may be requested as part of the application documentation.
Manufacturer's specification sheet showing AHRI IEER, ARI SEER2 or ARI IPLV must accompany the final application.
IPLV = Integrated Part Load Value, IEER = Integrated Energy Efficiency Ratio, SEER2 = Seasonal Energy Efficiency Ratio 2
COP = Coefficient of Performance, HSPF2 = Heating Seasonal Performance Factor 2
Measure Specifications
All work shall be performed in accordance with all applicable professional standards and comply with all applicable federal, state, and local laws, ordinances, codes and regulations.
Air-Cooled Air Conditioning and Heat Pumps New air-cooled air conditioning units or heat pumps that meet or exceed the qualifying Seasonal Energy Efficiency Ratio 2 (SEER2) or Integrated Energy Efficiency Ratio (IEER) shown in the Cooling Incentive Worksheet Table are eligible for an incentive. They can be either split systems or single packaged units. Evaporative coolers and water source heat pumps do not qualify under this program but may qualify under the Custom Incentive Program. All packaged and split system cooling equipment must meet Air-Conditioning, Heating and Refrigeration Institute (AHRI) standards (210/240, or 340/360), be UL listed, and use a minimum ozone-depleting refrigerant (e.g., HCFC or HFC). A manufacturer's specification sheet indicating the system SEER2/IEER must accompany the application. Final invoices must indicate the number of units and sizes with model numbers matching the specification sheets.
[44 empty] | Chiller_Centrifugal | Chiller_Positive Displacement |  | Chiller_Reciprocating | Chiller_Air_Cooled
Water and Air-Cooled Chillers Chillers that have a rated kW/ton for the Integrated Part Load Value (IPLV) conditions that is less than or equal to the qualifying efficiency shown in the Incentive Table above are eligible for an incentive. The chiller efficiency rating must be based on AHRI Standard 550/590-2011 for IPLV conditions and not based on full-load conditions. The chillers must meet AHRI Standard 550/590-2011, be UL listed, and use a minimum ozone-depleting refrigerant (e.g., HCFC or HFC). The AHRI net capacity value should be used to determine the chiller tons. A manufacturer specification/performance sheet with the rated kW/Ton-IPLV or COP-IPLV must accompany the application. Final invoices must indicate chiller model number and quanity of chillers. | [43 empty] | <150 | <75 |  | <150 | <150
[44 empty] | 150-299 | 75-149 |  | 150-299 | ≥150
Programmable Thermostats Equipment must replace a non-programmable thermostat. Thermostat must be capable of 7-day, 5-2, or 5-1-1 programming. Programmable thermostats installed in hotel/motel guest rooms are not eligible for this incentive. A manufacturer's specification sheet must accompany the application. Final invoices must indicate model number and quanity. | [43 empty] | 300-399 | 150-299 |  | ≥300
[44 empty] | 400-599 | 300-599
Hotel Room Occupancy Controls Install HVAC control devices to automatically setback room temperature when the room is unoccupied. Acceptable technologies include passive and/or dual technology room occupancy sensors and room keycard activation. Room technologies may be incorporated into a front desk arrival system. Incentive is paid per rentable guest room. A manufacturer's specification sheet must accompany the application. Final invoices must indicate model number and quanity. | [43 empty] | ≥ 600 | ≥ 600
Carbon Monoxide (CO) Sensors New CO sensors installed to control parking garage exhaust fans are eligible for a rebate. Sensors must control fan motor on/off or VSD speed. New VFDs associated with this measure are eligible for an additional VFD incentive. Typical sensor coverage is approximately 7,000 to 10,000 square feet. CO levels shall be in compliance with state, municipal or local codes. A manufacturer's specification sheet must accompany the application. Final invoices must indicate the number of sensors with model numbers matching the specification sheets. A schedule indicating sensor type and installation location must also be submitted.
Carbon Dioxide (CO2) Sensors This measure utilizes demand-controlled ventilation by installing CO2 sensors to reduce the conditioning of outside air. CO2 sensors must control the ventilation system. Sensors used solely for data acquisition purposes are not eligible. Carbon dioxide sensor must be installed in conjunction with a controls-governed outside air damper. CO2 levels shall be in compliance with state, municipal, or local codes. Outside air CO2 reference sensors are ineligible. A manufacturer's specification sheet must accompany the application. Final invoices must indicate the number of sensors with model numbers matching the specification sheets. A schedule indicating sensor type and installation location must also be submitted.
Page 3 of 3 | HVAC Specifications & Worksheet
Measure Specifications, continued
Minisplit AC/HP New minisplit air conditioning units or heat pumps that meet EnergySTAR qualifications must have both a new condenser and a new coil that meets AHRI specifications and where the matched system performance (condenser and coil). Equipment must be used to meet both the heating and cooling loads of the facility. A manufacturer's specification sheet indicating the system SEER2/IEER must accompany the application. Final invoices must indicate the number of units and sizes with model numbers matching the specification sheets.
Economizers This measure consists of retrofitting air-side economizers on existing HVAC units. New HVAC units with economizers are eligible for rebate under certain conditions noted below. Economizer must be capable of modulating to full open position (95% or more). Replacement of existing economizers are not eligible for rebate, unless existing economizer has been non-functional for 2 years or more (pre-application required for existing economizer replacement). New HVAC units with economizer are not eligible for rebate where the economizer is required by ASHRAE 90.1-2010, which requires economizers on units on HVAC units unless specific efficiencies (per size class) are met. Incentives are based on capacity of retrofitted/new HVAC units with nominal capacities of 3, 4 and 5 tons only. An HVAC unit schedule must be submitted indicating the quantity, model number, capacity, and yes/no on existing economizer, proposed retrofit economizer model number. Final invoices must indicate economizer model number, quantity purchased/installed. Manufacturer's specification sheets for economizer(s) must be submitted.
Shade Screens This measure consists of adding fixed exterior physical shading screens to windows. This measure is applicable only to retrofit of existing facilites. Windows with east, south, and west exposures are eligible. Shading Coefficient must be 0.30 or less at a thirty-degree profile angle. (Shading Coefficient equals SHGC X 1.15. SHGC = Solar Heat Gain Coefficient) Interior window shades such as blinds and drapes and movable door screens are not eligible. A window schedule must accompany the application indicating the quantity, current window type, actual window surface dimensions, window orientation, brand, model number of screen or window film material. Final invoices must indicate screen or window film material model number, quantity (square feet) of material purchased/installed. Manufacturer's specification sheets indicating the Shading Coefficient or the SHGC must also be submitted.
Advanced Rooftop Controls To qualify, the following must be installed: - Demand Control Ventilation controlling fan with VFD based on CO2 sensor input - DCV is integrated into Energy Management System. - Economizer is integrated into Energy Management System with DCV. An existing system with VFD, EMS, or economizer is not eligible.
FOR OFFICE USE ONLY - REVIEWER NOTES
Reviewed By: | Date:
QC By: | Date:
[27 empty] | capped |  |  | Tier 1 chiller efficiency |  | Tier 2 chiller efficiency | [9 empty] | Size Category
[25 empty] | MeasureSize Category | Min Efficiency | Base Incentive | Efficiency Incentive | Min | Max | Tier 1 CAP | Capping Units | Tier 2 Cap | MeasureSize Category | Min Efficiency | Base Incentive | Min EER | Min IEER | Min COP |  | Measure | AC_Unit_Single_Phase | HP_Unit_Single_Phase | AC_Unit_Three_Phase | HP_Unit_Three_Phase | Minisplit_AC | Minisplit_HP | Chiller_Centrifugal | Chiller_Positive_Displacement | Chiller_Air_Cooled | Chiller_Reciprocating |  | Programmable_Thermostat |  | Hotel_Room_Control_AC_Only | Hotel_Room_Control_Heat_Pumps | Add_Economizers | PTAC | PTHP | VRF Size | Heat Recovery / Gas Heat | CO2_Sensors | CO_Sensors | Window_Film | Shade_Screen | Window Location | Metric | Retro_Commissioning | Heat_Pump_Water_Heater | Advanced_Rooftop_Controls | Size
[25 empty] | AC_Unit_Three_Phase5.4<11.25 tons | 15.99 IEER | 30 | 50 | 15.99 | 30 |  |  |  | VRF_Air_Conditioners_Air_Cooled≥5.4 tons and <11.25 tons | 11.2 EER, 13.1 IEER | 50 | 11.2 | 13.1 |  |  | AC_Unit_Single_Phase | _2.0_tons_1Phase | _2.0_tons_1Phase | _2.0_tons | _2.0_tons | _0.75_tons | _0.75_tons | <150 | <75 | <150 | <150 |  | AC |  | Dual Technology | Dual Technology | Unitary Air-Cooled PKG AC 3 ton | 9,000_btu/h | 9,000_btu/h | ≥5.4 tons and <11.25 tons | Yes | Full Service Restaurant | On/Off (Shopping/Airport Profile) | Emissivity < 0.67 | 80% Block | East | COP | College/University | Restaurant Full Service ≥ 80 Gallon Tank(s) | College/University | Btuh
[25 empty] | AC_Unit_Three_Phase11.25<20 tons | 14.92 IEER | 20 | 50 | 14.92 | 30 |  |  |  | VRF_Air_Conditioners_Air_Cooled≥11.25 tons and <20 tons | 11.0 EER, 12.9 IEER | 50 | 11 | 12.9 |  |  | HP_Unit_Single_Phase | _2.5_tons_1Phase | _2.5_tons_1Phase | _2.5_tons | _2.5_tons | _1.00_tons | _1.00_tons | 150-299 | 75-149 | ≥150 | 150-299 |  | HP |  | Passive Infrared | Passive Infrared | Unitary Air-Cooled PKG AC 4 ton | 12,000_btu/h | 12,000_btu/h | ≥11.25 tons and <20 tons | No | Hospital | VAV (Shopping/Airport Profile) | Emissivity = 0.67 | 90% Block | Southeast | Energy Factor | Grocery | Restaurant Quick Service ≥ 80 Gallon Tank(s) | Grocery | Tons
[25 empty] | AC_Unit_Three_Phase20<63.3 tons | 13.8 IEER | 20 | 50 | 13.8 | 30 |  |  |  | VRF_Air_Conditioners_Air_Cooled≥20 tons | 10.0 EER, 11.6 IEER | 50 | 10 | 11.6 |  |  | AC_Unit_Three_Phase | _3.0_tons_1Phase | _3.0_tons_1Phase | _3.0_tons | _3.0_tons | _1.25_tons | _1.25_tons | 300-399 | 150-299 |  | ≥300 |  |  |  | Key Card Activation | Key Card Activation | Unitary Air-Cooled PKG AC 5 ton | 15,000_btu/h | 15,000_btu/h | ≥20 tons |  | Large Hotel | On/Off (Office/Events Profile) | Emissivity ≤ 0.82 |  | South |  | Hotel/Motel: Common Areas |  | Hotel/Motel: Common Areas
[25 empty] | AC_Unit_Three_Phase≥63.3_ tons | 12.75 IEER | 20 | 50 | 12.75 | 30 |  |  |  | VRF_Heat_Pump_Air_cooled≥5.4 tons and <11.25 tonsYes | 10.8 EER, 12.7 IEER, 3.3 COP | 50 | 10.8 | 12.7 | 3.3 |  | HP_Unit_Three_Phase | _3.5_tons_1Phase | _3.5_tons_1Phase | _3.5_tons | _3.5_tons | _2.0_tons | _2.0_tons | 400-599 | 300-599 | [12 empty] | Large Office | VAV (Office/Events Profile) |  |  | Southwest |  | Hotel/Motel: Guest Rooms |  | Hotel/Motel: Guest Rooms
[25 empty] | HP_Unit_Three_Phase5.4<11.25 tons | 15.8 IEER | 30 | 50 | 15.8 | 30 |  |  |  | VRF_Heat_Pump_Air_cooled≥11.25 tons and <20 tonsYes | 10.4 EER, 12.1 IEER, 3.2 COP | 50 | 10.4 | 12.1 | 3.2 |  | Minisplit_AC | _4.0_tons_1Phase | _4.0_tons_1Phase | _4.0_tons | _4.0_tons | _2.5_tons | _2.5_tons | ≥ 600 | ≥ 600 | [12 empty] | Medium Office |  |  |  | West |  | Industrial: 1 shift |  | Industrial: 1 shift
[25 empty] | HP_Unit_Three_Phase11.25<20 tons | 14.7 IEER | 20 | 50 | 14.7 | 30 |  |  |  | VRF_Heat_Pump_Air_cooled≥20 tonsYes | 9.3 EER, 10.8 IEER, 3.2 COP | 50 | 9.3 | 10.8 | 3.2 |  | Minisplit_HP | _5.0_tons_1Phase | _5.0_tons_1Phase | _5.0_tons | _5.0_tons | _3.0_tons | _3.0_tons | [14 empty] | Midrise Apartment | [5 empty] | Industrial: 2 shifts |  | Industrial: 2 shifts
[25 empty] | HP_Unit_Three_Phase≥20_ tons | 15.2 IEER | 20 | 50 | 15.2 | 30 |  |  |  | VRF_Heat_Pump_Air_cooled≥5.4 tons and <11.25 tonsNo | 11.0 EER, 12.9 IEER, 3.3 COP | 50 | 11 | 12.9 | 3.3 |  | Chiller_Centrifugal |  |  | 5.4<11.25 tons | 5.4<11.25 tons | _3.5_tons | _3.5_tons | [14 empty] | Outpatient | [5 empty] | Industrial: 3 shifts |  | Industrial: 3 shifts
[24 empty] | per ton | Chiller_Centrifugal<150 | 0.396 IPLV | 10 | 300 | 0.2 | 0.396 | 62.3142 | 0.374 | 116.9827 | VRF_Heat_Pump_Air_cooled≥11.25 tons and <20 tonsNo | 10.6 EER, 12.3 IEER, 3.2 COP | 50 | 10.6 | 12.3 | 3.2 |  | Chiller_Positive_Displacement |  |  | 11.25<20 tons | 11.25<20 tons | _4.0_tons | _4.0_tons | [14 empty] | Quick Service Restaurant | [5 empty] | K-12 School |  | K-12 School
[24 empty] | per ton | Chiller_Centrifugal150-299 | 0.36 IPLV | 10 | 300 | 0.2 | 0.36 | 46.1744 | 0.34 | 79.2882 | VRF_Heat_Pump_Air_cooled≥20 tonsNo | 9.5 EER, 11.0 IEER, 3.2 COP | 50 | 9.5 | 11 | 3.2 |  | Chiller_Air_Cooled |  |  | 20<63.3 tons | ≥20_ tons | _5.0_tons | _5.0_tons | [14 empty] | Small Hotel | [5 empty] | Medical: Inpatient |  | Medical: Inpatient
[24 empty] | per ton | Chiller_Centrifugal300-399 | 0.351 IPLV | 10 | 300 | 0.2 | 0.351 | 46.0617 | 0.3315 | 67.8201 | VRF_Heat_Pump_Water_Source≥5.4 tons and <11.25 tonsYes | 11.8 EER, 4.2 COP | 50 | 11.8 |  | 4.2 |  | Hotel_Room_Control_AC_Only |  |  | ≥63.3_ tons | [17 empty] | Small Office | [5 empty] | Medical: Outpatient |  | Medical: Outpatient
[24 empty] | per ton | Chiller_Centrifugal400-599 | 0.342 IPLV | 10 | 300 | 0.2 | 0.342 | 32.2124 | 0.323 | 70.6837 | VRF_Heat_Pump_Water_Source≥11.25 tons and <20 tonsYes | 9.8 EER, 3.9 COP | 50 | 9.8 |  | 3.9 |  | Hotel_Room_Control_Heat_Pumps | [20 empty] | Strip Mall | [5 empty] | Miscellaneous |  | Miscellaneous
[24 empty] | per ton | Chiller_Centrifugal≥ 600 | 0.342 IPLV | 10 | 300 | 0.2 | 0.342 | 19.7431 | 0.323 | 56.1357 | VRF_Heat_Pump_Water_Source≥20 tonsYes | 9.8 EER, 3.9 COP | 50 | 9.8 |  | 3.9 |  | Programmable_Thermostat | [20 empty] | Supermarket | [5 empty] | Office |  | Office
[24 empty] | per ton | Chiller_Positive_Displacement<75 | 0.45 IPLV | 10 | 300 | 0.2 | 0.45 | 76.0431 | 0.425 | 139.0638 | VRF_Heat_Pump_Water_Source≥5.4 tons and <11.25 tonsNo | 12.0 EER, 4.2 COP | 50 | 12 |  | 4.2 |  | Add_Economizers | [20 empty] | Primary School | [5 empty] | Public Assembly |  | Public Assembly
[24 empty] | per ton | Chiller_Positive_Displacement75-149 | 0.441 IPLV | 10 | 300 | 0.2 | 0.441 | 67.5449 | 0.4165 | 115.1879 | VRF_Heat_Pump_Water_Source≥11.25 tons and <20 tonsNo | 10.0 EER, 3.9 COP | 50 | 10 |  | 3.9 |  | CO_Sensors | Size | [19 empty] | Secondary School | [5 empty] | Restaurant |  | Restaurant
[24 empty] | per ton | Chiller_Positive_Displacement150-299 | 0.396 IPLV | 10 | 300 | 0.2 | 0.396 | 58.0811 | 0.374 | 97.2913 | VRF_Heat_Pump_Water_Source≥20 tonsNo | 10.0 EER, 3.9 COP | 50 | 10 |  | 3.9 |  | CO2_Sensors | _2.0_tons | _2.5_tons | _3.0_tons | _3.5_tons | _4.0_tons | _5.0_tons | 2.0_tons_1Phase | 2.5_tons_1Phase | 3.0_tons_1Phase | 3.5_tons_1Phase | 4.0_tons_1Phase | 5.0_tons_1Phase | <5.4_tons |  | 9,000_btu/h | 12,000_btu/h | 15,000_btu/h | [9 empty] | Retail: Enclosed and Strip Malls |  | Retail: Enclosed and Strip Malls
[24 empty] | per ton | Chiller_Positive_Displacement300-599 | 0.369 IPLV | 10 | 300 | 0.2 | 0.369 | 47.6518 | 0.3485 | 85.3742 | VRF_Heat_Pump_Groundwater_Source≥5.4 tons and <11.25 tonsYes | 16.0 EER, 3.6 COP | 50 | 16 |  | 3.6 |  |  | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 15.2_SEER2 | 14.3_SEER2 | [13 empty] | Retail: Non-Mall |  | Retail: Non-Mall
[24 empty] | per ton | Chiller_Positive_Displacement≥ 600 | 0.342 IPLV | 10 | 300 | 0.2 | 0.342 | 36.2569 | 0.323 | 79.4365 | VRF_Heat_Pump_Groundwater_Source≥11.25 tons and <20 tonsYes | 13.6 EER, 3.3 COP | 50 | 13.6 |  | 3.3 |  |  | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 16.2_SEER2 | 15.2_SEER2 | [13 empty] | Warehouse and Storage |  | Warehouse and Storage
[24 empty] | per ton | Chiller_Air_Cooled<150 | 0.796 IPLV | 20 | 200 | 0.2 | 0.796 | 85.0187 | 0.729 | 153.4359 | [8 empty] | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | ≥17.1_SEER2 | 16.2_SEER2
[24 empty] | per ton | Chiller_Air_Cooled≥150 | 0.779 IPLV | 20 | 200 | 0.2 | 0.779 | 65.5144 | 0.714 | 88.9603 | VRF_Heat_Pump_Groundwater_Source≥20 tonsYes | 13.6 EER, 3.3 COP | 50 | 13.6 |  | 3.3 |  | Retro_Commissioning | [12 empty] | ≥17.1_SEER2
[25 empty] | Programmable_ThermostatAC | per Unit | 115 | #N/A | #N/A | #N/A |  |  |  | VRF_Heat_Pump_Groundwater_Source≥5.4 tons and <11.25 tonsNo | 16.2 EER, 3.6 COP | 50 | 16.2 |  | 3.6 |  | Advanced_Rooftop_Controls
[25 empty] | Programmable_ThermostatHP | per Unit | 115 | #N/A | #N/A | #N/A |  |  |  | VRF_Heat_Pump_Groundwater_Source≥11.25 tons and <20 tonsNo | 13.8 EER. 3.3 COP | 50 | 13.8 |  | 3.3 |  | VRF_Air_Conditioners_Air_Cooled
[24 empty] | per ton | AC_Unit_Single_Phase_2.0_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877 |  | VRF_Heat_Pump_Groundwater_Source≥20 tonsNo | 13.8 EER. 3.3 COP | 50 | 13.8 |  | 3.3 |  | VRF_Heat_Pump_Air_cooled
[24 empty] | per ton | AC_Unit_Single_Phase_2.5_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877 |  | VRF_Heat_Pump_Ground_Source≥5.4 tons and <11.25 tonsYes | 13.2 EER, 3.1 COP | 50 | 13.2 |  | 3.1 |  | VRF_Heat_Pump_Water_Source
[24 empty] | per ton | AC_Unit_Single_Phase_3.0_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877 |  | VRF_Heat_Pump_Ground_Source≥11.25 tons and <20 tonsYes | 10.8 EER, 2.8 COP | 50 | 10.8 |  | 2.8 |  | VRF_Heat_Pump_Groundwater_Source
[24 empty] | per ton | AC_Unit_Single_Phase_3.5_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877 |  | VRF_Heat_Pump_Ground_Source≥20 tonsYes | 10.8 EER, 2.8 COP | 50 | 10.8 |  | 2.8 |  | VRF_Heat_Pump_Ground_Source
[24 empty] | per ton | AC_Unit_Single_Phase_4.0_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877 |  | VRF_Heat_Pump_Ground_Source≥5.4 tons and <11.25 tonsNo | 13.4 EER, 3.1 COP | 50 | 13.4 |  | 3.1
[24 empty] | per ton | AC_Unit_Single_Phase_5.0_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877 |  | VRF_Heat_Pump_Ground_Source≥11.25 tons and <20 tonsNo | 11.0 EER, 2.8 COP | 50 | 11 |  | 2.8 |  | Shade_Screen
[24 empty] | per ton | AC_Unit_Single_Phase_2.0_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423 |  | VRF_Heat_Pump_Ground_Source≥20 tonsNo | 11.0 EER, 2.8 COP | 50 | 11 |  | 2.8
[24 empty] | per ton | AC_Unit_Single_Phase_2.5_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423 | [9 empty] | Rec Incentive from MAS sheet
[24 empty] | per ton | AC_Unit_Single_Phase_3.0_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423 |  |  | Application | Measure | MAS Sheet Incremental w/out O&M | MAS Sheet IPLV ee min eff | Code | Tier 1 | Tier 2
[24 empty] | per ton | AC_Unit_Single_Phase_3.5_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423 |  |  | Chiller_Centrifugal<150 | C&I Comprehensive Water-Cooled Chillers-Centrifugal <150 Tons Tier 1 | 83.0856 | 0.396 | 0.44 | 0.396 | 0.374 | 15.8
[24 empty] | per ton | AC_Unit_Single_Phase_4.0_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423 |  |  | Chiller_Centrifugal<150 | C&I Comprehensive Water-Cooled Chillers-Centrifugal <150 Tons Tier 2 | 155.9769 | 0.374 | 0.44 | 0.396 | 0.374 | 20.2
[24 empty] | per ton | AC_Unit_Single_Phase_5.0_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423 |  |  | Chiller_Centrifugal150-299 | C&I Comprehensive Water-Cooled Chillers-Centrifugal 150 - 299 Tons Tier 1 | 61.5659 | 0.36 | 0.4 | 0.36 | 0.34 | 15
[24 empty] | per ton | AC_Unit_Single_Phase_2.0_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969 |  |  | Chiller_Centrifugal150-299 | C&I Comprehensive Water-Cooled Chillers-Centrifugal 150 - 299 Tons Tier 2 | 105.7175 | 0.34 | 0.4 | 0.36 | 0.34 | 19
[24 empty] | per ton | AC_Unit_Single_Phase_2.5_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969 |  |  | Chiller_Centrifugal300-399 | C&I Comprehensive Water-Cooled Chillers-Centrifugal 300 - 399 Tons Tier 1 | 61.4157 | 0.351 | 0.39 | 0.351 | 0.3315 | 14.8
[24 empty] | per ton | AC_Unit_Single_Phase_3.0_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969 |  |  | Chiller_Centrifugal300-399 | C&I Comprehensive Water-Cooled Chillers-Centrifugal 300 - 399 Tons Tier 2 | 90.4268 | 0.3315 | 0.39 | 0.351 | 0.3315 | 18.7
[24 empty] | per ton | AC_Unit_Single_Phase_3.5_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969 |  |  | Chiller_Centrifugal400-599 | C&I Comprehensive Water-Cooled Chillers-Centrifugal 400 - 599 Tons Tier 1 | 42.9499 | 0.342 | 0.38 | 0.342 | 0.323 | 14.6
[24 empty] | per ton | AC_Unit_Single_Phase_4.0_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969 |  |  | Chiller_Centrifugal400-599 | C&I Comprehensive Water-Cooled Chillers-Centrifugal 400 - 599 Tons Tier 2 | 94.2449 | 0.323 | 0.38 | 0.342 | 0.323 | 18.4
[24 empty] | per ton | AC_Unit_Single_Phase_5.0_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969 |  |  | Chiller_Centrifugal≥ 600 | C&I Comprehensive Water-Cooled Chillers-Centrifugal ≥ 600 Tons Tier 1 | 26.3242 | 0.342 | 0.38 | 0.342 | 0.323 | 10.53
[24 empty] | per ton | HP_Unit_Single_Phase_2.0_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492 |  |  | Chiller_Centrifugal≥ 600 | C&I Comprehensive Water-Cooled Chillers-Centrifugal ≥ 600 Tons Tier 2 | 74.8476 | 0.323 | 0.38 | 0.342 | 0.323 | 18.4
[24 empty] | per ton | HP_Unit_Single_Phase_2.5_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492 |  | Chiller_Reciprocating<150 | Chiller_Positive_Displacement<75 | C&I Comprehensive Water-Cooled Chillers-Positive Displacement < 75 Tons Tier 1 | 101.3908 | 0.45 | 0.5 | 0.45 | 0.425 | 8.11
[24 empty] | per ton | HP_Unit_Single_Phase_3.0_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492 |  | Chiller_Reciprocating<150 | Chiller_Positive_Displacement<75 | C&I Comprehensive Water-Cooled Chillers-Positive Displacement < 75 Tons Tier 2 | 185.4184 | 0.425 | 0.5 | 0.45 | 0.425 | 14.83
[24 empty] | per ton | HP_Unit_Single_Phase_3.5_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492 |  | Chiller_Reciprocating<150 | Chiller_Positive_Displacement75-149 | C&I Comprehensive Water-Cooled Chillers-Positive Displacement 75 - 149 Tons Tier 1 | 90.0599 | 0.441 | 0.49 | 0.441 | 0.4165 | 7.2
[24 empty] | per ton | HP_Unit_Single_Phase_4.0_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492 |  | Chiller_Reciprocating<150 | Chiller_Positive_Displacement75-149 | C&I Comprehensive Water-Cooled Chillers-Positive Displacement 75 - 149 Tons Tier 2 | 153.5838 | 0.4165 | 0.49 | 0.441 | 0.4165 | 12.29
[24 empty] | per ton | HP_Unit_Single_Phase_5.0_tons_1Phase15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492 |  | Chiller_Reciprocating150-299 | Chiller_Positive_Displacement150-299 | C&I Comprehensive Water-Cooled Chillers-Positive Displacement 150 - 299 Tons Tier 1 | 77.4415 | 0.396 | 0.44 | 0.396 | 0.374 | 6.2
[24 empty] | per ton | HP_Unit_Single_Phase_2.0_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122 |  | Chiller_Reciprocating150-299 | Chiller_Positive_Displacement150-299 | C&I Comprehensive Water-Cooled Chillers-Positive Displacement 150 - 299 Tons Tier 2 | 129.7218 | 0.374 | 0.44 | 0.396 | 0.374 | 10.38
[24 empty] | per ton | HP_Unit_Single_Phase_2.5_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122 |  | Chiller_Reciprocating≥300 | Chiller_Positive_Displacement300-599 | C&I Comprehensive Water-Cooled Chillers-Positive Displacement 300 - 599 Tons Tier 1 | 63.5357 | 0.369 | 0.41 | 0.369 | 0.3485 | 5.08
[24 empty] | per ton | HP_Unit_Single_Phase_3.0_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122 |  | Chiller_Reciprocating≥300 | Chiller_Positive_Displacement300-599 | C&I Comprehensive Water-Cooled Chillers-Positive Displacement 300 - 599 Tons Tier 2 | 113.8323 | 0.3485 | 0.41 | 0.369 | 0.3485 | 9.11
[24 empty] | per ton | HP_Unit_Single_Phase_3.5_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122 |  | Chiller_Reciprocating≥300 | Chiller_Positive_Displacement≥ 600 | C&I Comprehensive Water-Cooled Chillers-Positive Displacement ≥ 600 Tons Tier 1 | 48.3425 | 0.342 | 0.38 | 0.342 | 0.323 | 3.87
[24 empty] | per ton | HP_Unit_Single_Phase_4.0_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122 |  | Chiller_Reciprocating≥300 | Chiller_Positive_Displacement≥ 600 | C&I Comprehensive Water-Cooled Chillers-Positive Displacement ≥ 600 Tons Tier 2 | 105.9153 | 0.323 | 0.38 | 0.342 | 0.323 | 8.47
[24 empty] | per ton | HP_Unit_Single_Phase_5.0_tons_1Phase16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122 |  |  | Chiller_Air_Cooled<150 | C&I Comprehensive Air-Cooled Chillers <150 Tons Tier 1 | 113.3583 | 0.796 | 0.875 | 0.796 | 0.729 | 45.34
[24 empty] | per ton | HP_Unit_Single_Phase_2.0_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753 |  |  | Chiller_Air_Cooled<150 | C&I Comprehensive Air-Cooled Chillers <150 Tons Tier 2 | 204.5812 | 0.729 | 0.875 | 0.796 | 0.729 | 81.83
[24 empty] | per ton | HP_Unit_Single_Phase_2.5_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753 |  |  | Chiller_Air_Cooled≥150 | C&I Comprehensive Air-Cooled Chillers >=150 Tons Tier 1 | 87.3526 | 0.779 | 0.857 | 0.779 | 0.714
[24 empty] | per ton | HP_Unit_Single_Phase_3.0_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753 |  |  | Chiller_Air_Cooled≥150 | C&I Comprehensive Air-Cooled Chillers >=150 Tons Tier 2 | 118.6137 | 0.714 | 0.857 | 0.779 | 0.714
[24 empty] | per ton | HP_Unit_Single_Phase_3.5_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753
[24 empty] | per ton | HP_Unit_Single_Phase_4.0_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753
[24 empty] | per ton | HP_Unit_Single_Phase_5.0_tons_1Phase≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753 | [5 empty] | 0.79628 | 0.87591
[25 empty] | Hotel_Room_Control_AC_OnlyDual Technology | per Room | 75 | #N/A | #N/A | #N/A | [7 empty] | 0.72993 | 0.87591
[25 empty] | Hotel_Room_Control_AC_OnlyPassive Infrared | per Room | 75 | #N/A | #N/A | #N/A | [7 empty] | 0.77922 | 0.85714
[25 empty] | Hotel_Room_Control_AC_OnlyKey Card Activation | per Room | 75 | #N/A | #N/A | #N/A | [7 empty] | 0.71429 | 0.85714
[25 empty] | Hotel_Room_Control_Heat_PumpsDual Technology | per Room | 75 | #N/A | #N/A | #N/A
[25 empty] | Hotel_Room_Control_Heat_PumpsPassive Infrared | per Room | 75 | #N/A | #N/A | #N/A
[25 empty] | Hotel_Room_Control_Heat_PumpsKey Card Activation | per Room | 75 | #N/A | #N/A | #N/A
[25 empty] | Add_EconomizersUnitary Air-Cooled PKG AC 3 ton | 9.54 EER | 45 | #N/A | 9.54 | 30
[25 empty] | Add_EconomizersUnitary Air-Cooled PKG AC 4 ton | 9.54 EER | 45 | #N/A | 9.54 | 30
[25 empty] | Add_EconomizersUnitary Air-Cooled PKG AC 5 ton | 9.54 EER | 45 | #N/A | 9.57 | 30
[25 empty] | CO2_SensorsFull Service Restaurant | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsHospital | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsLarge Hotel | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsLarge Office | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsMedium Office | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsMidrise Apartment | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsOutpatient | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsQuick Service Restaurant | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsSmall Hotel | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsSmall Office | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsStrip Mall | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsSupermarket | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsPrimary School | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO2_SensorsSecondary School | per Sensor | 375 | #N/A | #N/A | #N/A
[25 empty] | CO_SensorsOn/Off (Shopping/Airport Profile) | per Sensor | 1000 | #N/A | #N/A | #N/A
[25 empty] | CO_SensorsVAV (Shopping/Airport Profile) | per Sensor | 1000 | #N/A | #N/A | #N/A
[25 empty] | CO_SensorsOn/Off (Office/Events Profile) | per Sensor | 1000 | #N/A | #N/A | #N/A
[25 empty] | CO_SensorsVAV (Office/Events Profile) | per Sensor | 1000 | #N/A | #N/A | #N/A
[25 empty] | Shade_Screen | per Square Foot | 2 | #N/A | #N/A | 0.3
[25 empty] | AC_Unit_Three_Phase_2.0_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877
[25 empty] | AC_Unit_Three_Phase_2.5_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877
[25 empty] | AC_Unit_Three_Phase_3.0_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877
[25 empty] | AC_Unit_Three_Phase_3.5_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877
[25 empty] | AC_Unit_Three_Phase_4.0_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877
[25 empty] | AC_Unit_Three_Phase_5.0_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 36.5169 | 27.3877
[25 empty] | AC_Unit_Three_Phase_2.0_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423
[25 empty] | AC_Unit_Three_Phase_2.5_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423
[25 empty] | AC_Unit_Three_Phase_3.0_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423
[25 empty] | AC_Unit_Three_Phase_3.5_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423
[25 empty] | AC_Unit_Three_Phase_4.0_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423
[25 empty] | AC_Unit_Three_Phase_5.0_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 55.7897 | 41.8423
[25 empty] | AC_Unit_Three_Phase_2.0_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969
[25 empty] | AC_Unit_Three_Phase_2.5_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969
[25 empty] | AC_Unit_Three_Phase_3.0_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969
[25 empty] | AC_Unit_Three_Phase_3.5_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969
[25 empty] | AC_Unit_Three_Phase_4.0_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969
[25 empty] | AC_Unit_Three_Phase_5.0_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 75.0625 | 56.2969
[25 empty] | HP_Unit_Three_Phase_2.0_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492
[25 empty] | HP_Unit_Three_Phase_2.5_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492
[25 empty] | HP_Unit_Three_Phase_3.0_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492
[25 empty] | HP_Unit_Three_Phase_3.5_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492
[25 empty] | HP_Unit_Three_Phase_4.0_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492
[25 empty] | HP_Unit_Three_Phase_5.0_tons15.2_SEER2 | 15.20 SEER2 | 15 | #N/A | 15.2 | 16.14 | 45.9323 | 34.4492
[25 empty] | HP_Unit_Three_Phase_2.0_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122
[25 empty] | HP_Unit_Three_Phase_2.5_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122
[25 empty] | HP_Unit_Three_Phase_3.0_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122
[25 empty] | HP_Unit_Three_Phase_3.5_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122
[25 empty] | HP_Unit_Three_Phase_4.0_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122
[25 empty] | HP_Unit_Three_Phase_5.0_tons16.2_SEER2 | 16.15 SEER2 | 30 | #N/A | 16.15 | 17.09 | 94.4163 | 70.8122
[25 empty] | HP_Unit_Three_Phase_2.0_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753
[25 empty] | HP_Unit_Three_Phase_2.5_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753
[25 empty] | HP_Unit_Three_Phase_3.0_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753
[25 empty] | HP_Unit_Three_Phase_3.5_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753
[25 empty] | HP_Unit_Three_Phase_4.0_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753
[25 empty] | HP_Unit_Three_Phase_5.0_tons≥17.1_SEER2 | 17.10 SEER2 | 40 | #N/A | 17.1 | 30 | 142.9004 | 107.1753
[25 empty] | Minisplit_AC_0.75_tons | 18.64 SEER | 16 | #N/A | 0 | 100
[25 empty] | Minisplit_AC_1.00_tons | 18.64 SEER | 16 | #N/A | 0 | 100
[25 empty] | Minisplit_AC_1.25_tons | 18.64 SEER | 16 | #N/A | 0 | 100
[25 empty] | Minisplit_AC_2.0_tons | 18.64 SEER | 16 | #N/A | 0 | 100
[25 empty] | Minisplit_AC_2.5_tons | 18.64 SEER | 16 | #N/A | 0 | 100
[25 empty] | Minisplit_AC_3.0_tons | 18.64 SEER | 16 | #N/A | 0 | 100
[25 empty] | Minisplit_AC_3.5_tons | 18.64 SEER | 16 | #N/A | 0 | 100
[25 empty] | Minisplit_AC_4.0_tons | 18.64 SEER | 16 | #N/A | 0 | 100
[25 empty] | Minisplit_AC_5.0_tons | 18.64 SEER | 16 | #N/A | 0 | 100
[25 empty] | Minisplit_HP_0.75_tons | 19.45 SEER | 12 | #N/A | 0 | 100
[25 empty] | Minisplit_HP_1.00_tons | 19.45 SEER | 12 | #N/A | 0 | 100
[25 empty] | Minisplit_HP_1.25_tons | 19.45 SEER | 12 | #N/A | 0 | 100
[25 empty] | Minisplit_HP_2.0_tons | 19.45 SEER | 12 | #N/A | 0 | 100
[25 empty] | Minisplit_HP_2.5_tons | 19.45 SEER | 12 | #N/A | 0 | 100
[25 empty] | Minisplit_HP_3.0_tons | 19.45 SEER | 12 | #N/A | 0 | 100
[25 empty] | Minisplit_HP_3.5_tons | 19.45 SEER | 12 | #N/A | 0 | 100
[25 empty] | Minisplit_HP_4.0_tons | 19.45 SEER | 12 | #N/A | 0 | 100
[25 empty] | Minisplit_HP_5.0_tons | 19.45 SEER | 12 | #N/A | 0 | 100
[24 empty] | per sf | Retro_Commissioning | #N/A | 0.2 | #N/A
[24 empty] | per ton | Advanced_Rooftop_Controls | #N/A | 235
AC_Unit_Single_Phase_2.0_tons_1Phase
AC_Unit_Single_Phase_2.5_tons_1Phase
AC_Unit_Single_Phase_3.0_tons_1Phase
AC_Unit_Single_Phase_3.5_tons_1Phase
AC_Unit_Single_Phase_4.0_tons_1Phase
AC_Unit_Single_Phase_5.0_tons_1Phase
HP_Unit_Single_Phase_2.0_tons_1Phase
HP_Unit_Single_Phase_2.5_tons_1Phase
HP_Unit_Single_Phase_3.0_tons_1Phase
HP_Unit_Single_Phase_3.5_tons_1Phase
HP_Unit_Single_Phase_4.0_tons_1Phase
HP_Unit_Single_Phase_5.0_tons_1Phase
AC_Unit_Three_Phase_2.0_tons
AC_Unit_Three_Phase_2.5_tons
AC_Unit_Three_Phase_3.0_tons
AC_Unit_Three_Phase_3.5_tons
AC_Unit_Three_Phase_4.0_tons
AC_Unit_Three_Phase_5.0_tons
HP_Unit_Three_Phase_2.0_tons
HP_Unit_Three_Phase_2.5_tons
HP_Unit_Three_Phase_3.0_tons
HP_Unit_Three_Phase_3.5_tons
HP_Unit_Three_Phase_4.0_tons
HP_Unit_Three_Phase_5.0_tons
Note on A50: Measure installed: Air Conditioners Heat Pumps Minisplits Chillers Programmable Thermostats Economizers Sensors Hotel Room Controls
Note on G50: Capacity of cooling equipment in tons. For Thermostats select HVAC type. For CO2 sensors select building type. For hotel room controls select technology. For CO sensors select variable air volume or on/off.
Note on K50: For single phase and three phase equipment less than 5.4 tons select SEER rating. No entry required for 3 Phase equipment > 5.4 tons.
Note on M50: For equipment <5.4 tons enter HSPF. Minimum HSPF = 7.7. For equipment >= 5.4 tons enter COP. Minimum COP=3.1
Note on O50: Enter equipment size in Btuh from AHRI for SEER2. No entry need if cell has been blacked out.
Note on S50: Minimum Cooling Efficiency required to qualify for a rebate. If value not given no minimum efficiency to qualify, however some measures will still require an entry.
Note on U50: Enter Cooling Efficiency Of Installed Equipment in EER or IPLV. Not required if the cell has been blacked out.
Note on W50: Number of units installed.
Note on A72: Window treatment measure installed: Shade Screens
Note on G72: Does the faciliity have gas heat? Yes or No.
Note on I72: % block for Shade Screens or emisivity for Window Film
Note on L72: North, North East, North West facing windows do not qualify.
Note on O72: Maximum Shading Coefficient to qualify for a rebate. -Shading Coefficient equals SHGC X 1.15 -SHGC = Solar Heat Gain Coefficient
Note on Q72: Must be 0.30 or less for Shade Screens
Note on S72: Area of the window covered in square feet. (Width x Height)
Note on A83: Advanced Rooftop Controls Enter each RTU as a separate line
Note on H83: Select Builidng Type Category
Note on M83: Enter Tons of Controlled RTU Unit
Note on Q83: enter SEER2

## Version History (hidden)
Change Date | Notes
2026-03-05 | Removed Retrocommissioning for 2026, measure was removed from the MAS
2026-03-17 | Updated date for 2026, Corrected typo in "Programmable" thermostats