## Cover
Business Energy Solutions
2026 Rebate Application
Prescriptive Measures for Existing Facilities
Refrigeration
Submit application to:
TEP Business Energy Solutions
Tel: 1-866-473-8761
tepbes@franklinenergy.com
Application Process
1. Submit a Pre-Notification Application.
2. Install the qualified technology.
3. Submit a complete, signed Final Application with all documentation.
4. Receive incentive check within 6 weeks of Final Application approval.
Last Modified: 1/1/2024
Funded by TEP customers and approved by the Arizona Corporation Commission

## Refrigeration
TEP - Prescriptive Application
Refrigeration Specifications & Worksheet |  |  |  | 2026-01-01
Project Name: |  |  |  | TEP Account #:
Refrigeration Measure Incentives
Measure | Rebate |  |  | Measure | Rebate
Floating Head Pressure Controls | $45/Ton |  | Automatic Door Closer |  | $70/Door
High Efficiency Refrigerators | $30/1 Door; $100/2 or 3 Door |  | LED Case Lighting |  | $4.50/Lamp or Fixtures All Sizes
High Efficiency Freezers | $55/1 Door; $115/2 or 3 Door |  | LED Case Lighting with Occ Sensor |  | $11/Lamp or Fixtures All Sizes
Strip Curtains | $5.00/Square Foot |  | Shade Pole Motor (SPM) to Electronically Commutated Motor (ECM) |  | $100/Motor
Vending Machine Controls | $85/Controller
Calculator: Installed Refrigeration Measures |  |  | *Click here for compressor/Condenser/Floating Head Pressure Controls
Measure | Type |  | Quantity | Units | Incentive per unit |  | Subtotal | status | Type Selection Error?
FALSE
FALSE
FALSE
FALSE
FALSE
[9 empty] | FALSE |  | High_Efficiency_Refrigerator | High_Efficiency_Freezer | Automatic_Door_Closers | SPM_to_EC_Motors | Vending_Machine_Control | Strip_Curtains | Floating_Head_Pressure_Controls | LED_Case_Lighting | RefrigerationMeasure | Refrigeration2
[9 empty] | FALSE |  | 1-Door | 1-Door | Walk In Cooler | 1/47 HP No controls not adding controls | Refrigerated Machine | Refrigerator | Walk-In Cooler/Refrig | Refrigerator 6FT | Automatic_Door_Closers | Floating_Head_Pressure_Controls
[9 empty] | FALSE |  | 2-Door | 2-Door | Walk In Freezer | 1/47 HP SPM w/ controls to ECM w/ controls | Beverage Machine | Freezer |  | Refrigerator 6FT w/ Occ Sensor | SPM_to_EC_Motors
[9 empty] | FALSE |  | 3-Door | 3-Door |  | 1/28 HP No controls not adding controls | Snack Machine |  |  | Refrigerator 6FT Open Case | High_Efficiency_Refrigerator
[9 empty] | FALSE |  |  |  |  | 1/28 HP SPM w/ controls to ECM w/ controls |  |  |  | Refrigerator 6FT w/ Occ Sensor Open Case | High_Efficiency_Freezer
[9 empty] | FALSE |  |  |  |  | 1/20 HP No controls not adding controls |  |  |  | Refrigerator 5FT | LED_Case_Lighting
[9 empty] | FALSE |  |  |  |  | 1/20 HP SPM w/ controls to ECM w/ controls |  |  |  | Refrigerator 5FT w/ Occ Sensor | Strip_Curtains
[9 empty] | FALSE |  |  |  |  | 1/15 HP No controls not adding controls |  |  |  | Refrigerator 5FT Open Case | Vending_Machine_Control
[9 empty] | FALSE |  |  |  |  | 1/15 HP SPM w/ controls to ECM w/ controls |  |  |  | Refrigerator 5FT w/ Occ Sensor Open Case
[9 empty] | FALSE |  |  |  |  | 1/12 HP No controls not adding controls |  |  |  | Refrigerator 4FT
[9 empty] | FALSE |  |  |  |  | 1/12 HP SPM w/ controls to ECM w/ controls |  |  |  | Refrigerator 4FT w/ Occ Sensor
[9 empty] | FALSE |  |  |  |  | 1/10 HP No controls not adding controls |  |  |  | Refrigerator 4FT Open Case
[9 empty] | FALSE |  |  |  |  | 1/10 HP SPM w/ controls to ECM w/ controls |  |  |  | Refrigerator 4FT w/ Occ Sensor Open Case
[9 empty] | FALSE |  |  |  |  | 1/8 HP No controls not adding controls |  |  |  | Freezer 6FT
[5 empty] | Subtotal |  | 0 | [6 empty] | 1/8 HP SPM w/ controls to ECM w/ controls |  |  |  | Freezer 6FT w/ Occ Sensor
[14 empty] | 1/6 HP No controls not adding controls |  |  |  | Freezer 6FT Open Case
Calculator: Floating Head Pressure Control Measure |  |  |  |  | *Click Here For Previous Measure Section | [8 empty] | 1/6 HP SPM w/ controls to ECM w/ controls |  |  |  | Freezer 6FT w/ Occ Sensor Open Case
Measure | Type | Size (HP) | Size (Tons) | Quantity | Incentive per ton |  | Subtotal | status | Type Selection Error? |  |  |  |  | 1/5 HP No controls not adding controls |  |  |  | Freezer 5FT
[9 empty] | FALSE |  |  |  |  | 1/5 HP SPM w/ controls to ECM w/ controls |  |  |  | Freezer 5FT w/ Occ Sensor
[9 empty] | FALSE |  |  |  |  | 1/4 HP No controls not adding controls |  |  |  | Freezer 5FT Open Case
[9 empty] | FALSE |  |  |  |  | 1/4 HP SPM w/ controls to ECM w/ controls |  |  |  | Freezer 5FT w/ Occ Sensor Open Case
[9 empty] | FALSE | [8 empty] | Freezer 4FT
[9 empty] | FALSE | [8 empty] | Freezer 4FT w/ Occ Sensor
[9 empty] | FALSE | [8 empty] | Freezer 4FT Open Case
[9 empty] | FALSE | [8 empty] | Freezer 4FT w/ Occ Sensor Open Case
[5 empty] | Subtotal |  | 0
Project Completion Date
[6 empty] | Total: | 0
Rebates cannot exceed 75% of the incremental measure cost.
Page 2 of 2 | Refrigeration Specifications & Worksheet
Measure Specifications
All work shall be performed in accordance with all applicable professional standards and comply with all applicable federal, state and local laws, ordinances, codes and regulations.
Automatic Door Closer Automatic door closers must automatically close the main insulated door of an existing walk-in cooler or freezer. The auto-closer must firmly close the door when it is within one inch of full closure. Only new installations are eligible for incentives.
Evaporator Fan Motor This measure is applicable to the replacement of an existing standard-efficiency shaded-pole evaporator fan motor in refrigerated display cases or fan coil in walk-ins. The replacement unit is an ECM motor.
Floating Head Pressure Controls Convert the head pressure controls of an existing multiplex system from fixed control to floating control to take advantage of low outdoor-air temperatures. The condensers must use variable speed drive, staged fan-operation, or a combination of both. The primary market for this measure is grocery stores and refrigerated warehouses.
ENERGY STAR® Reach-in Refrigerators and Freezers This measure involves replacing standard commercial food service reach-in refrigerated cases with ENERGY STAR Certified high-efficiency units, which includes one-door, two-door, and three-door refrigerators and freezers. All one-door units have a capacity of ≤ 30 cubic feet; two-door units are ≤ 60 cubic feet; and three-door units are ≤ 90 cubic feet. ENERGY STAR Certified commercial solid door refrigerators and freezers are designed with components such as electronically commutated motor (ECM) evaporators and condenser fan motors, hot gas anti-sweat heaters, or high-efficiency compressors. A manufacturer's specification sheet must accompany the application. To verify your product or look up additional ENERGY STAR Certified products please visit:
http://www.energystar.gov/certified-products/certified-products?c=products.pr_find_es_products
LED Case Lighting Replace T12 or T8 fluorescent lamps with qualified LED lamps in refrigerated and freezer cases. Refrigerated case lighting must be DLC approved. Replace four-foot, five-foot, and six-foot fluorescent lamps on a one-for-one basis. Replacement cases with factory installed LED lamps are eligible for this incentive. Valid for open or enclosed cases.
Strip Curtains on Walk-ins New strip curtains or clear plastic swinging doors must be installed on doorways of walk-in boxes and refrigerated warehouses. This incentive is not available for display cases or replacing existing strip curtains. Incentive is based on the square foot of the opening.
Vending Machine Controls: Beverage, Reach-in and Snack The controller must include a passive infrared occupancy sensor to turn off lamps and other vending machine systems when the surrounding area is unoccupied for 15 minutes or longer. The beverage case controls should be installed on refrigerated vending machines which contains only non-perishable bottled and canned beverages. The reach-in cooler controller is for glass-front coolers (typically with sliding or pull-open doors) that contain non-perishable goods. The snack machine controls are for non-refrigerated vending machines. For refrigerated equipment, the control logic should power up the machine at two-hour intervals to maintain product temperature.
[10 empty] | Look Up Incentive | Incentive | Unit
[10 empty] | Automatic_Door_ClosersWalk in Cooler | 70 | per Door
[10 empty] | Automatic_Door_ClosersWalk in Freezer | 70 | per Door
[10 empty] | Floating_Head_Pressure_ControlsWalk-In Cooler/Refrig | 45 | per Ton
[10 empty] | High_Efficiency_Freezer1-Door | 55 | per Freezer
[10 empty] | High_Efficiency_Freezer2-Door | 115 | per Freezer
[10 empty] | High_Efficiency_Freezer3-Door | 115 | per Freezer
[10 empty] | High_Efficiency_Refrigerator1-Door | 30 | per Refrigerator
[10 empty] | High_Efficiency_Refrigerator2-Door | 100 | per Refrigerator
[10 empty] | High_Efficiency_Refrigerator3-Door | 100 | per Refrigerator
[10 empty] | Strip_CurtainsRefrigerator | 5 | per Total Square Feet
[10 empty] | Strip_CurtainsFreezer | 5 | per Total Square Feet
[10 empty] | Vending_Machine_ControlRefrigerated Machine | 85 | per Controller
[10 empty] | Vending_Machine_ControlBeverage Machine | 85 | per Controller
[10 empty] | Vending_Machine_ControlSnack Machine | 85 | per Controller
[10 empty] | SPM_to_EC_Motors1/47 HP No controls not adding controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/47 HP SPM w/o controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/47 HP SPM w/ controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/28 HP No controls not adding controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/28 HP SPM w/o controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/28 HP SPM w/ controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/20 HP No controls not adding controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/20 HP SPM w/o controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/20 HP SPM w/ controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/15 HP No controls not adding controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/15 HP SPM w/o controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/15 HP SPM w/ controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/12 HP No controls not adding controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/12 HP SPM w/o controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/12 HP SPM w/ controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/10 HP No controls not adding controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/10 HP SPM w/o controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/10 HP SPM w/ controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/8 HP No controls not adding controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/8 HP SPM w/o controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/8 HP SPM w/ controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/6 HP No controls not adding controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/6 HP SPM w/o controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/6 HP SPM w/ controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/5 HP No controls not adding controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/5 HP SPM w/o controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/5 HP SPM w/ controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/4 HP No controls not adding controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/4 HP SPM w/o controls to ECM w/ controls | 100 | per Motor
[10 empty] | SPM_to_EC_Motors1/4 HP SPM w/ controls to ECM w/ controls | 100 | per Motor
[10 empty] | LED_Case_LightingRefrigerator 6FT | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 6FT w/ Occ Sensor | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 6FT Open Case | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 6FT w/ Occ Sensor Open Case | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 6FT | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 6FT w/ Occ Sensor | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 6FT Open Case | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 6FT w/ Occ Sensor Open Case | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 5FT | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 5FT w/ Occ Sensor | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 5FT Open Case | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 5FT w/ Occ Sensor Open Case | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 5FT | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 5FT w/ Occ Sensor | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 5FT Open Case | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 5FT w/ Occ Sensor Open Case | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 4FT | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 4FT w/ Occ Sensor | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 4FT Open Case | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingRefrigerator 4FT w/ Occ Sensor Open Case | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 4FT | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 4FT w/ Occ Sensor | 11 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 4FT Open Case | 4.5 | per Lamp or Fixture
[10 empty] | LED_Case_LightingFreezer 4FT w/ Occ Sensor Open Case | 11 | per Lamp or Fixture
. | . | . |  | . | . |  | .

## Version History (hidden)
Change Date | Notes
2026-03-17 | Updated dates for 2026