## Cover
Business Energy Solutions
2026 Rebate Application
Prescriptive Measures for Existing Facilities
Lighting
Submit application to:
TEP Business Energy Solutions
Tel: 1-866-473-8761
tepbes@franklinenergy.com
Application Process
1. Submit a Pre-Notification Application.
2. Install the qualified technology.
3. Submit a complete, signed Final Application with all documentation.
4. Receive incentive check within 6 weeks of Final Application approval.
Last Modified: 8/24/2026
Funded by TEP customers and approved by the Arizona Corporation Commission

## Lighting
TEP - Prescriptive Application
Lighting Incentive Specifications & Worksheet | [10 empty] | 2026-01-01 | [5 empty] | Data Range Names for Lighting Measures
Project Name: | [10 empty] | TEP Account #: | [5 empty] | Measure | Delamping_Interior | LED_Tubes_Interior | LED_Tubes_Exterior | LED_Panel | LED_Panel_Recessed_1x4 | LED_Panel_Recessed_2x4 | LED_Panel_Recessed_2x2 | LED_Panel_Surface_Suspended | Exterior_HID_Fixtures | Interior_HID_Fixtures | Exterior_HID_Lamps | Interior_HID_Lamps | Exterior_LED_Reflector | Interior_LED_Reflector | Interior_LED_Standard | Exterior_LED_Standard | Controls_Measures | Occupancy_Sensor | Daylighting_Controls | LED_Tubes | _2FT_T8_to_LED_tubes | _4FT_T8_to_LED_tubes | _8FT_T8_to_LED_tubes | _8FT_T8_to_2x_4FT_LED_tubes | _3FT_T12_to_LED_tubes | _4FT_T12_to_LED_tubes | _8FT_T12_to_LED_tubes | _8FT_T12_to_2x_4FT_LED_tubes | _2FT_T5_to_LED_tubes | _4FT_T5_to_LED_tubes
Lighting Measure Incentives | [16 empty] | Exterior_LED_Reflector | Delamp 2' T12 Less than 12' above ground | _2FT_T8_to_LED_tubes | _2FT_T8_to_LED_tubes | LED_Panel_Recessed_1x4 | <3000 | >=3000 to <7500 | <3000 | <3000 | MH/HPS to LED Fixture <50W | MH/HPS to LED Fixture <50W | MH/HPS to LED Lamp <35W | MH/HPS to LED Lamp <35W | BR20 | BR20 | Incandescent to Standard LED <4.5W | Incandescent to Standard LED <3.5W | Daylighting_Controls | Grocery | Grocery | LED_Tubes_Interior | 17 | 32 | 58 | 58 | 30 | 40 | 58 | 58 | 14 | 28
LED Panel | [5 empty] | Exterior HID Fixtures (Metal Halide or High Pressure Sodium to LED) | [10 empty] | Interior_LED_Reflector | Delamp 2' T12 More than 12' above ground | _4FT_T8_to_LED_tubes | _4FT_T8_to_LED_tubes | LED_Panel_Recessed_2x4 | >=3000 to <7500 |  | >=3000 to <7500 | >=3000 to <7500 | MH/HPS to LED Fixture >=50W to <150W | MH/HPS to LED Fixture >=150W to <255W | MH/HPS to LED Lamp >=35W to <100W | MH/HPS to LED Lamp >=35W to <100W | BR30 | BR30 | Incandescent to Standard LED <7.6W | Incandescent to Standard LED <4.5W | Occupancy_Sensor | Hotel/Motel: Common Areas | Hotel/Motel: Common Areas | LED_Tubes_Exterior |  |  | 62 | 62 |  |  | 62 | 62 |  | 54
Measure |  |  | Incentive |  |  | Measure | [5 empty] | Incentive |  |  |  |  | Exterior_HID_Fixtures | Delamp 3' T12 Less than 12' above ground | _8FT_T8_to_LED_tubes | _8FT_T8_to_LED_tubes | LED_Panel_Recessed_2x2 |  |  |  | >=7500 | MH/HPS to LED Fixture >=150W to <255W | MH/HPS to LED Fixture >=255W | MH/HPS to LED Lamp >=100W | MH/HPS to LED Lamp >=100W | BR40 | BR40 | Incandescent to Standard LED <11.3W | Incandescent to Standard LED <7.5W |  | Hotel/Motel: Guest Rooms | Hotel/Motel: Guest Rooms
LED Panel <3000 Lumens |  |  | $4.00 per fixture |  |  | LED Outdoor Lights - HID Fixtures - <50W | [5 empty] | $15.00 per fixture |  |  |  |  | Interior_HID_Fixtures | Delamp 3' T12 More than 12' above ground | _2FT_T5_to_LED_tubes | _2FT_T5_to_LED_tubes | LED_Panel_Surface_Suspended |  |  |  |  | MH/HPS to LED Fixture >=255W |  |  |  | R20 | R20 | Incandescent to Standard LED <14.8W | Incandescent to Standard LED <11.5W |  | Medical: Inpatient | Medical: Inpatient
LED Panel >=3000 to <7500 Lumens |  |  | $15.00 per fixture |  |  | LED Outdoor Lights - HID Fixtures - >=50W to <150W | [5 empty] | $30.00 per fixture |  |  |  |  | Exterior_HID_Lamps | Delamp 4' T12 Less than 12' above ground | _4FT_T5_to_LED_tubes | _4FT_T5_to_LED_tubes | [9 empty] | R30 | R30 | Incandescent to Standard LED >=14.8W | Incandescent to Standard LED <15W |  | Medical: Outpatient | Medical: Outpatient
LED Panel >=7500 Lumens |  |  | $35.00 per fixture |  |  | LED Outdoor Lights - HID Fixtures - >=150W to <255W | [5 empty] | $110.00 per fixture |  |  |  |  | Interior_HID_Lamps | Delamp 4' T12 More than 12' above ground | [11 empty] | R40 | R40 |  | Incandescent to Standard LED >=15W |  | Office | Office
LED Panel 2x2 |  |  | $15.00 per fixture |  |  | LED Outdoor Lights - HID Fixtures - >=255W | [5 empty] | $215.00 per fixture |  |  |  |  | Delamping_Interior | Delamp 8' T12 Less than 12' above ground | [11 empty] | PAR20 | PAR20 |  |  |  | Industrial: 1 shift | Industrial: 1 shift
LED Reflector (Indoor & Outdoor) | [5 empty] | Interior HID Fixtures (Metal Halide or High Pressure Sodium to LED) | [11 empty] | Delamp 8' T12 More than 12' above ground | [11 empty] | PAR30 | PAR30 |  |  |  | Industrial: 2 shifts | Industrial: 2 shifts
Reflector - BR20 and R20 |  |  | $2.50 per lamp |  |  | LED Indoor Lights - HID Fixtures - <50W | [5 empty] | $15.00 per fixture | [5 empty] | Delamp 2' T8 Less than 12' above ground | [11 empty] | PAR38 | PAR38 |  |  |  | Industrial: 3 shifts | Industrial: 3 shifts
Reflector - BR30, BR40, R30, R40 |  |  | $5.25 per lamp |  |  | LED Indoor Lights - HID Fixtures - >=150W to <255W | [5 empty] | $110.00 per fixture | [5 empty] | Delamp 2' T8 More than 12' above ground | [16 empty] | Restaurant | Restaurant
Reflector - PAR20 |  |  | $6.00 per lamp |  |  | LED Indoor Lights - HID Fixtures - >=255W | [5 empty] | $215.00 per fixture | [5 empty] | Delamp 3' T8 Less than 12' above ground | [16 empty] | Retail: Enclosed and Strip Malls | Retail: Enclosed and Strip Malls
Reflector - PAR30 and PAR38 |  |  | $8.50 per lamp |  |  | HID Lamps (Indoor & Outdoor) | [11 empty] | Delamp 3' T8 More than 12' above ground | [16 empty] | Retail: Non-Mall | Retail: Non-Mall
LED Tubes (Indoor & Outdoor) | [5 empty] | LED Indoor Lights - HID Lamp - <35W | [5 empty] | $7.50 per lamp | [5 empty] | Delamp 4' T8 Less than 12' above ground | [16 empty] | Warehouse and Storage | Warehouse and Storage
T8 or T5 to LED Linear Tube - 2FT |  |  | $3.75 per lamp |  |  | LED Indoor Lights - HID Lamp - >=35W to <100W | [5 empty] | $60.00 per lamp | [5 empty] | Delamp 4' T8 More than 12' above ground | [16 empty] | Public Assembly | Public Assembly
T8, or T5 to LED Linear Tube - 4FT |  |  | $3.75 per lamp |  |  | LED Indoor Lights - HID Lamp - >=100W | [5 empty] | $100.00 per lamp | [5 empty] | Delamp 8' T8 Less than 12' above ground | [16 empty] | Miscellaneous | Miscellaneous
T8 to LED Linear Tube - 8FT |  |  | $11.50 per lamp | [14 empty] | Delamp 8' T8 More than 12' above ground | [16 empty] | Parking Garage | College/University
Miscellaneous Lighting | [34 empty] | College/University | K-12 School
Interior Delamping |  |  | $5.00 per lamp | [31 empty] | K-12 School
Daylighting Controls |  |  | $43.00 per controller
Occupancy Sensors |  |  | $105.00 per sensor
Important Notes:
1. A room-by-room survey must be provided for projects over 30 fixtures and all delamping projects.
2. All work shall be performed in accordance with all applicable professional standards and comply with all applicable federal, state, and local laws, ordinances,codes and regulations.
Yellow Box: Click in box and select from drop down menu |  |  |  |  | Green Box: requires a number to be entered | [5 empty] | White Box: No entry required
Room by Room Survey Required
LED Tubes Incentive Calculator: |  |  |  |  | *Click here for all measures except for LED Tubes and Sensors | [6 empty] | *Click here for Sensors |  | *Top of Page
Measure |  | Measure type |  |  | New LED Wattage |  |  |  | Old Lamp Wattage |  | Quantity | Incentive Amount |  | Incentive
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
[15 empty] | #N/A | TRUE
Page 2 of 3 |  | Lighting Incentive Specifications & Worksheet
LED Panel Incentive Calculator: | [11 empty] | *Click here to go back to top of page
Measure |  |  | Measure type |  |  |  | Lumens |  | New Wattage | Old Wattage | Quantity | Incentive Amount |  | Incentive
114
Lighting Measures Incentive Calculator: | [11 empty] | *Click here to go back to top of page
Measure |  |  | Measure Type |  |  |  |  | New Wattage | Old Wattage | Quantity |  | Incentive Amount |  | Incentive |  | Existing Min |  | Existing Max
[15 empty] | Q | #N/A | #N/A | 1100 |  | https://www.youtube.com/watch?v=U3eWhRcTH0w | You tube video with lesson on how to set up double vlookup formula for data validation
[15 empty] | Q | #N/A | #N/A | #N/A |  | Lookup Table for formula for Incentive D: Col New Fixture Wattage
[15 empty] | Q | #N/A | #N/A | #N/A |  | Description | minimum | maximum
[15 empty] | Q | #N/A | #N/A | #N/A |  | LED <= 50 Watts | 0 | 50
[15 empty] | Q | #N/A | #N/A | #N/A |  | LED > 50 Watts and <=90 Watts | 50 | 90
[15 empty] | Q | #N/A | #N/A | #N/A |  | LED > 90 Watts and <=150 Watts | 90 | 150
[15 empty] | Q | #N/A | #N/A | #N/A |  | LED > 150 Watts | 150 | 5000
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A |  | Conditional Formatting formula
[15 empty] | Q | #N/A | #N/A | #N/A |  | Reminder Flag to include Room by Room | =SUM($K$29:$L$41)+SUM($L$64:$L$72)+SUM($L$75:$L$81)+SUM($B$85:$B$97)>=30
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A |  | Validation Formulas
[15 empty] | Q | #N/A | #N/A | #N/A |  |  | =indirect(if(or(a19="Pulse_Start_Metal_Halide",a19="HID_to_T8_or_T5"),concatenate(a19,"_",c19),a19))
[15 empty] | Q | #N/A | #N/A | #N/A |  | Incentive C: Col Old Lamp Wattage | =if(right(c66,11)="> 100 Watts",f66>100,f66<=100)
[15 empty] | Q | #N/A | #N/A | #N/A |  | Incentive C: Col New Lamp Wattage | =J66<=.4*f66
[15 empty] | Q | #N/A | #N/A | #N/A |  | Incentive D: Col New Fixture Wattage | =AND(F77>VLOOKUP(C77,$U$66:$W$69,2,0),F77<=VLOOKUP(C77,$U$66:$W$69,3,0))
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
[15 empty] | Q | #N/A | #N/A | #N/A
Room by Room Survey Required
Daylight and Occupancy Sensors Incentive Calculator: | [11 empty] | *Click here to go back to top of page
Measure |  | Usage Area |  |  |  | Parking Lot? |  | Sensor Quantity |  | Connected Watts |  | Incentive Amount |  | Incentive | check, if occ sensor, if BC < 1, DNQ | Retail Cost | Societal Benefit | Benefit Cost | kWh | coin kW | Measure Life
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
[16 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | 10
Project Completion Date
[13 empty] | Lighting Total | 0
Rebates cannot exceed 75% of the incremental measure cost.
Page 3 of 3 |  | Lighting Incentive Specifications & Worksheet
Measure Specifications
Interior Delamping Delamping is the permanent removal of existing fluorescent lamps. Unused lamps, lamp holders, and ballasts must be permanently removed from the fixture to claim the delamping credit. This measure is applicable when retrofitting T12 to T8 or simply delamping a T8 fixture. It is not available for delamping a T12 fixture. Delamping incentives are only valid for interior fixtures. A Pre-Notification Application and pre-inspection are required for delamping projects.
Daylighting Controls Eligible controls shall consist of a photosensor that controls on/off, stepped, or continuous dimming ballasts. The on/off controller should turn off artificial lighting when the interior illuminance meets the desired indoor lighting level. The stepped controller generally dims the artificial lighting 50% when the interior illuminance levels reach 50% (example for a 2-step controller) of the desired lighting levels. Continuous or dimming controllers dim artificial lighting proportional to the available ambient light. All types of daylight sensor controls are required to be commissioned in order to ensure proper sensor calibration and energy savings. Systems that allow on/off overrides are not eligible. A manufacturer's specification sheet must accompany the application.
Exterior HID to LED Fixture This measure consists of replacing existing metal halide (MH), high pressure sodium (HPS), or downlight fixtures with new fixtures with LED fixtures.
LED Panel LED Surface & Suspended Linear Fixtures, and 1x4, 2x2, 2x4 LED Recessed Light Fixtures may replace Fluorescent T5 and T8 light fixtures. All LED fixtures must be listed as a qualified product with DesignLights Consortium.
LED Lighting Reflector lamps must be R, BR or PAR series. It is expected that a wattage reduction of 50% for screw-in LED lamps be achieved to obtain a rebate. Linear LED lamps may replace existing 2ft, 3ft, 4ft or 8ft T8 lamps. It is expected that a wattage reduction of 35% for linear LED lamps be achieved to obtain a rebate. Metal halide and high pressure sodium fixtures may be retrofitted with appropriate LED lamps or replaced with an appropriate LED fixture. It is expected that a wattage reduction of 50% for LED fixtures be achieved to receive a rebate. All LED lamps, linear tubes or fixtures must be either listed as a qualified product with DesignLights Consortium or Energy Star certified. Optionally, bulbs and fixtures that do not appear on the above qualification lists may qualify using the minimum performance criteria in the appropriate product category in either organization, including; light output, luminaire efficacy (lm/W), warranty, color rendering index, correlated color temperature, lumen maintenance and L70 lifetime. Please contact a representative to confirm qualification. See links below for requirements.
The DesignLights Consortium Product Listings are located on their website at: |  | https://www.designlights.org/search/ | [6 empty] | Requirements are located at: |  | DLC_SSL-Technical-Requirements-V5.1_FINAL_01232025.pdf
https://www.energystar.gov/products/light_fixtures/partners
Occupancy Sensors (Wall Box and Ceiling Mount) Only passive infrared and/or ultrasonic detectors are eligible. Wall box and wall-, ceiling-, or fixture- mounted sensors must be hardwired to control interior lighting fixtures.
Look up Table |  |  | New Min | Existing Min | New Max | Existing Max | Lumens Min | Lumens Max
LED_Panel_Recessed_1x4<3000 | 4 | per fixture | 0 | 0 | 1000 | 1100 | 0 | 3000
LED_Panel_Recessed_1x4>=3000 to <7500 | 15 | per fixture | 0 | 0 | 1000 | 1100 | 3000 | 7500
LED_Panel_Recessed_2x4>=3000 to <7500 | 15 | per fixture | 0 | 0 | 1000 | 1100 | 3000 | 7500
LED_Panel_Recessed_2x2<3000 | 15 | per fixture | 0 | 0 | 1000 | 1100 | 0 | 3000
LED_Panel_Recessed_2x2>=3000 to <7500 | 15 | per fixture | 0 | 0 | 1000 | 1100 | 3000 | 7500
LED_Panel_Surface_Suspended<3000 | 4 | per fixture | 0 | 0 | 1000 | 1100 | 0 | 3000
LED_Panel_Surface_Suspended>=3000 to <7500 | 15 | per fixture | 0 | 0 | 1000 | 1100 | 3000 | 7500
LED_Panel_Surface_Suspended>=7500 | 35 | per fixture | 0 | 0 | 1000 | 1100 | 7500 | 100000
Delamping_InteriorDelamp 2' T12 Less than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 2' T12 More than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 3' T12 Less than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 3' T12 More than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 4' T12 Less than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 4' T12 More than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 8' T12 Less than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 8' T12 More than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 2' T8 Less than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 2' T8 More than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 3' T8 Less than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 3' T8 More than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 4' T8 Less than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 4' T8 More than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 8' T8 Less than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Delamping_InteriorDelamp 8' T8 More than 12' above ground | 5 | per lamp | 0 | 0 | 1000 | 1100
Exterior_HID_FixturesMH/HPS to LED Fixture <50W | 15 | per fixture | 0 | 0 | 50 | 1100
Exterior_HID_FixturesMH/HPS to LED Fixture >=50W to <150W | 30 | per fixture | 50 | 0 | 150 | 1100
Exterior_HID_FixturesMH/HPS to LED Fixture >=150W to <255W | 110 | per fixture | 150 | 0 | 255 | 1100
Exterior_HID_FixturesMH/HPS to LED Fixture >=255W | 215 | per fixture | 255 | 0 | 1000 | 1100
Interior_HID_FixturesMH/HPS to LED Fixture <50W | 15 | per fixture | 0 | 0 | 50 | 1100
Interior_HID_FixturesMH/HPS to LED Fixture >=150W to <255W | 110 | per fixture | 150 | 0 | 255 | 1100
Interior_HID_FixturesMH/HPS to LED Fixture >=255W | 215 | per fixture | 255 | 0 | 1000 | 1100
Exterior_HID_LampsMH/HPS to LED Lamp <35W | 7.5 | per lamp | 0 | 0 | 35 | 1100
Exterior_HID_LampsMH/HPS to LED Lamp >=35W to <100W | 60 | per lamp | 35 | 0 | 100 | 1100
Exterior_HID_LampsMH/HPS to LED Lamp >=100W | 100 | per lamp | 100 | 0 | 1000 | 1100
Interior_HID_LampsMH/HPS to LED Lamp <35W | 7.5 | per lamp | 0 | 0 | 35 | 1100
Interior_HID_LampsMH/HPS to LED Lamp >=35W to <100W | 60 | per lamp | 35 | 0 | 100 | 1100
Interior_HID_LampsMH/HPS to LED Lamp >=100W | 100 | per lamp | 100 | 0 | 1000 | 1100
Exterior_LED_ReflectorBR20 | 2.5 | per lamp | 0 | 0 | 1000 | 1100
Exterior_LED_ReflectorBR30 | 5.25 | per lamp | 0 | 0 | 1000 | 1100
Exterior_LED_ReflectorBR40 | 5.25 | per lamp | 0 | 0 | 1000 | 1100
Exterior_LED_ReflectorR20 | 2.5 | per lamp | 0 | 0 | 1000 | 1100
Exterior_LED_ReflectorR30 | 5.25 | per lamp | 0 | 0 | 1000 | 1100
Exterior_LED_ReflectorR40 | 5.25 | per lamp | 0 | 0 | 1000 | 1100
Exterior_LED_ReflectorPAR20 | 6 | per lamp | 0 | 0 | 1000 | 1100
Exterior_LED_ReflectorPAR30 | 8.5 | per lamp | 0 | 0 | 1000 | 1100
Exterior_LED_ReflectorPAR38 | 8.5 | per lamp | 0 | 0 | 1000 | 1100
Interior_LED_ReflectorBR20 | 2.5 | per lamp | 0 | 0 | 1000 | 1100
Interior_LED_ReflectorBR30 | 5.25 | per lamp | 0 | 0 | 1000 | 1100
Interior_LED_ReflectorBR40 | 5.25 | per lamp | 0 | 0 | 1000 | 1100
Interior_LED_ReflectorR20 | 2.5 | per lamp | 0 | 0 | 1000 | 1100
Interior_LED_ReflectorR30 | 5.25 | per lamp | 0 | 0 | 1000 | 1100
Interior_LED_ReflectorR40 | 5.25 | per lamp | 0 | 0 | 1000 | 1100
Interior_LED_ReflectorPAR20 | 6 | per lamp | 0 | 0 | 1000 | 1100
Interior_LED_ReflectorPAR30 | 8.5 | per lamp | 0 | 0 | 1000 | 1100
Interior_LED_ReflectorPAR38 | 8.5 | per lamp | 0 | 0 | 1000 | 1100
Exterior_HID_FixturesIncandescent to Standard LED <4.5W | 2.5 | per lamp | 0 | 0 | 4.5 | 1100
Exterior_HID_FixturesIncandescent to Standard LED <7.6W | 2.5 | per lamp | 4.5 | 0 | 7.6 | 1100
Exterior_HID_FixturesIncandescent to Standard LED <11.3W | 2.5 | per lamp | 7.6 | 0 | 11.3 | 1100
Exterior_HID_FixturesIncandescent to Standard LED <14.8W | 2.5 | per lamp | 11.3 | 0 | 14.8 | 1100
Exterior_HID_FixturesIncandescent to Standard LED >=14.8W | 2.5 | per lamp | 14.8 | 0 | 1000 | 1100
Interior_HID_FixturesIncandescent to Standard LED <3.5W | 2.5 | per lamp | 0 | 0 | 3.5 | 1100
Interior_HID_FixturesIncandescent to Standard LED <4.5W | 2.5 | per lamp | 3.5 | 0 | 4.5 | 1100
Interior_HID_FixturesIncandescent to Standard LED <7.5W | 2.5 | per lamp | 4.5 | 0 | 7.5 | 1100
Interior_HID_FixturesIncandescent to Standard LED <11.5W | 2.5 | per lamp | 7.5 | 0 | 11.5 | 1100
Interior_HID_FixturesIncandescent to Standard LED <15W | 2.5 | per lamp | 11.5 | 0 | 15 | 1100
Interior_HID_FixturesIncandescent to Standard LED >=15W | 2.5 | per lamp | 15 | 0 | 1000 | 1100
Daylighting_ControlsGrocery | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsHotel/Motel: Common Areas | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsHotel/Motel: Guest Rooms | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsMedical: Inpatient | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsMedical: Outpatient | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsOffice | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsIndustrial: 1 shift | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsIndustrial: 2 shifts | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsIndustrial: 3 shifts | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsRestaurant | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsRetail: Enclosed and Strip Malls | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsRetail: Non-Mall | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsWarehouse and Storage | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsPublic Assembly | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsMiscellaneous | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsCollege/University | 43 | per controller | 0 | 0 | 1000 | 1100
Daylighting_ControlsK-12 School | 43 | per controller | 0 | 0 | 1000 | 1100
Occupancy_SensorGrocery | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorHotel/Motel: Common Areas | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorHotel/Motel: Guest Rooms | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorMedical: Inpatient | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorMedical: Outpatient | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorOffice | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorIndustrial: 1 shift | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorIndustrial: 2 shifts | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorIndustrial: 3 shifts | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorRestaurant | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorRetail: Enclosed and Strip Malls | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorRetail: Non-Mall | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorWarehouse and Storage | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorPublic Assembly | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorMiscellaneous | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorParking Garage | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorCollege/University | 105 | per sensor | 0 | 0 | 1000 | 1100
Occupancy_SensorK-12 School | 105 | per sensor | 0 | 0 | 1000 | 1100
LED_Tubes_Exterior_2FT_T8_to_LED_tubes | 3.75 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Exterior_4FT_T8_to_LED_tubes | 3.75 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Exterior_8FT_T8_to_LED_tubes | 11.5 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Exterior_2FT_T5_to_LED_tubes | 6.5 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Exterior_4FT_T5_to_LED_tubes | 3.75 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Exterior | 11.5 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Exterior | 3.75 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Exterior | 3.75 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Interior_2FT_T8_to_LED_tubes | 3.75 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Interior_4FT_T8_to_LED_tubes | 3.75 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Interior_8FT_T8_to_LED_tubes | 11.5 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Interior_2FT_T5_to_LED_tubes | 6.5 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Interior_4FT_T5_to_LED_tubes | 3.75 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Interior | 11.5 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Interior | 3.75 | per lamp | 0 | 0 | 1000 | 1100
LED_Tubes_Interior | 3.75 | per lamp | 0 | 0 | 1000 | 1100
.
Note on L30: When replacing 8FT lamps with 4FT LED tubes please enter quantities in multiples of 2.

## Occupancy Sensors (hidden)
Parking? | Retail Incremental Cost (Without O&M) | ESF | Building Type | Hours |  |  |  | int | ext
No | 162.3494 | 0.24 | College/University | 3066 |  |  | Capacity $/kW-Year | Measure Avoided Cost ($/kWh) | Measure Avoided Cost ($/kWh)
Yes | 145.2738 | 0.41 | K-12 School | 2433 |  |  |  | s | outer loop
|  |  | Grocery | 4531 |  | Count | Integral 2 | derivative 1 | test
|  |  | Hotel/Motel: Common Areas | 4161
|  |  | Hotel/Motel: Guest Rooms | 1979 |  | 1 | 71.26 | 0.020249 | 0.0243
|  |  | Medical: Inpatient | 4602 |  | 2 | 72.76 | 0.021836 | 0.02641
|  |  | Medical: Outpatient | 3696 |  | 3 | 63.61 | 0.022923 | 0.02867
|  |  | Office | 3144 |  | 4 | 64.88 | 0.027146 | 0.034525
|  |  | Industrial: 1 shift | 3272 |  | 5 | 66.18 | 0.026606 | 0.034906
|  |  | Industrial: 2 shifts | 4588 |  | 6 | 61.88 | 0.028191 | 0.038539
|  |  | Industrial: 3 shifts | 6250 |  | 7 | 68.85 | 0.020871 | 0.029419
|  |  | Restaurant | 4616 |  | 8 | 81.94 | 0.023407 | 0.033871
|  |  | Retail: Enclosed and Strip Malls | 3821 |  | 9 | 95.51 | 0.022205 | 0.031967
|  |  | Retail: Non-Mall | 3713 |  | 10 | 103.51 | 0.021775 | 0.03133
|  |  | Warehouse and Storage | 3130 |  | 11 | 110.55 | 0.02018 | 0.029185
|  |  | Public Assembly | 2393 |  | 12 | 121.63 | 0.022347 | 0.033767
|  |  | Miscellaneous | 2934 |  | 13 | 131.82 | 0.021329 | 0.033074
[6 empty] | 14 | 145 | 0.020201 | 0.032112
[6 empty] | 15 | 147.9 | 0.018948 | 0.03097
[6 empty] | 16 | 150.86 | 0.018773 | 0.031386
[6 empty] | 17 | 153.88 | 0.018599 | 0.031807
[6 empty] | 18 | 156.95 | 0.018426 | 0.032235
[6 empty] | 19 | 156.95 | 0.018255 | 0.032668
[6 empty] | 20 | 156.95 | 0.018086 | 0.033107
[6 empty] | 21 | 156.95 | 0.017918 | 0.033552
[6 empty] | 22 | 156.95 | 0.017752 | 0.034002
[6 empty] | 23 | 156.95 | 0.017587 | 0.034459
[6 empty] | 24 | 156.95 | 0.017424 | 0.034922
[6 empty] | 25 | 156.95 | 0.017263 | 0.035391
[6 empty] | 26 | 156.95 | 0.017103 | 0.035867
[6 empty] | 27 | 156.95 | 0.016944 | 0.036349
[6 empty] | 28 | 156.95 | 0.016787 | 0.036837
[6 empty] | 29 | 156.95 | 0.016631 | 0.037332
[6 empty] | 30 | 156.95 | 0.016477 | 0.037834
[5 empty] | 7.26% |  | percent increase | Societal Discount Rate (WACC)
[5 empty] | 9.94% |  | stain d | Line Loss Factor - Demand
[5 empty] | 9.94% |  | stain e | Line Loss Factor - Energy
[5 empty] | 15% |  | reservation | Capacity Reserve Factor

## Nav Loader (hidden)
delete first row and column later |  |  | hidden column | hidden column | hidden column | autofill | [7 empty] | autofill | autofill | autofill | autofill | autofill | autofill |  | autofill | autofill | autofill | autofill
| Row | Measure | Measure Name | External ID | QPL | Quantity | ENERGY STAR Unique ID | DLC Product ID | Manufacturer Name | Model Name | Customer Material Cost | Customer Labor Cost | Type of Lamp Replacement Installed | New Wattage per Panel | New Lumens per Panel | Fixture Type | Fixture Size | New Wattage per Lamp | Old Wattage per Lamp | Existing Lamp Type | Existing Lamp Type | Lamp Type Removed | Height of Fixture | Total Connected Watts | Is this for a Parking Lot? | Worksheet Measure Name | Short Measure Name | External Id | QPL | LED Tubes Replacement Lamp Type | LED Panel Fixture Type | LED Panel Size | HID Baseline Bulb Type | Reflector Baseline Bulb Type | Delamping | Delamping - Lamp Removed | Delamping - Height of Fixture | Occ Sensor - Parking Lot
| Key |  |  | ExternalID |  | Quantity | EnergyStarID | DLCProductID | Manufacturer | Model | MatCost | LabCost | ReplacementLampType | NewWattage | NewLumens | BaselineBulb | ReplacementLampType | NewWattage | OldWattage | BaselineBulbType | BaselineBulbType | LampRemoved | HeightofFixture | ConnectedWatts | ParkingLot
led tubes | 1 | [6 empty] | 123456 |  |  |  |  | 2FT 17W T8 to 12W | [12 empty] | LED_Tubes_Interior | LED Tubes | LEDTubes-Indoor-TEPCI | DLC | 2FT 17W T8 to 12W | Troffer | 1x4 | Metal Halide | BR20 | Delamp 2' T12 Less than 12' above ground | T12 2 ft | Less or equal to 12 ft | Yes
| 2 | [6 empty] | 123456 | [17 empty] | LED_Tubes_Exterior | LED Tubes | LEDTubes-Outdoor-TEPCI | DLC | 4FT 32W T8 to 10W | Troffer | 2x4 | High Pressure Sodium | BR30 | Delamp 2' T12 More than 12' above ground | T12 2 ft | Greater than 12 ft | No
| 3 | [7 empty] | 123 | 456 | [15 empty] | Daylighting_Controls | Daylighting | Daylighting2024-TEPCI | N/A | 4FT 32W T8 to 14W | Troffer | 2x2 | Downlight | BR40 | Delamp 3' T12 Less than 12' above ground | T12 3 ft | Less or equal to 12 ft
| 4 | [7 empty] | 123 | 456 | [15 empty] | Delamping_Interior | Delamping | Delamping-TEPCI | N/A | 4FT 32W T8 to 17W | Surface Suspended | Surface |  | PAR20 | Delamp 3' T12 More than 12' above ground | T12 3 ft | Greater than 12 ft
| 5 | [7 empty] | 123 | 456 | [15 empty] | Occupancy_Sensor | Occupancy Sensor | OccupancySensor-TEPCI | N/A | 8FT 58W T8 to 24W (replaced with 8FT) |  |  |  | PAR30 | Delamp 4' T12 Less than 12' above ground | T12 4 ft | Less or equal to 12 ft
| 6 | [24 empty] | Interior_LED_Standard | LED Standard | LEDA-LineLamps-Interior-TEPCI | ENERGY STAR | 8FT 58W T8 to 36W (replaced with 8FT) |  |  |  | PAR38 | Delamp 4' T12 More than 12' above ground | T12 4 ft | Greater than 12 ft
| 7 | [24 empty] | Interior_LED_Reflector | LED Reflector Lamps | LEDReflectorLamps-Interior-TEPCI | ENERGY STAR | 3FT 30W T12 to 10.5W |  |  |  | R20 | Delamp 8' T12 Less than 12' above ground | T12 8 ft | Less or equal to 12 ft
| 8 | [24 empty] | Interior_HID_Lamps | LED HID Replacement Lamps | LEDHIDReplacementLamps-Interior-TEPCI | DLC | 4FT 40W T12 to 17W |  |  |  | R30 | Delamp 8' T12 More than 12' above ground | T12 8 ft | Greater than 12 ft
| 9 | [24 empty] | Interior_HID_Fixtures | LED HID Replacement Fixtures | LEDHIDReplacementFixtures-Interior-TEPCI | DLC | 8FT 62W T12 to 24W (replaced with 8FT) |  |  |  | R40 | Delamp 2' T8 Less than 12' above ground | T8 2 ft | Less or equal to 12 ft
| 10 | [25 empty] | ENERGY STAR LED Downlights | LEDHIDReplacementFixture-Interior-TEPCI | ENERGY STAR | 8FT 62W T12 to 36W (replaced with 8FT) |  |  |  |  | Delamp 2' T8 More than 12' above ground | T8 2 ft | Greater than 12 ft
| 11 | [24 empty] | Exterior_LED_Standard | LED Standard | LEDA-LineLamps-Exterior-TEPCI | ENERGY STAR | 2FT 14W T5 to 8W |  |  |  |  | Delamp 3' T8 Less than 12' above ground | T8 3 ft | Less or equal to 12 ft
| 12 | [24 empty] | Exterior_LED_Reflector | LED Reflector Lamps | LEDReflectorLamps-Exterior-TEPCI | ENERGY STAR | 2FT 14W T5 to 9.5W |  |  |  |  | Delamp 3' T8 More than 12' above ground | T8 3 ft | Greater than 12 ft
| 13 | [24 empty] | Exterior_HID_Lamps | LED HID Replacement Lamps | LEDHIDReplacementLamps-Exterior-TEPCI | DLC | 4FT 28W T5 to 13W |  |  |  |  | Delamp 4' T8 Less than 12' above ground | T8 4 ft | Less or equal to 12 ft
panel | 14 | [6 empty] | 123456 | [17 empty] | Exterior_HID_Fixtures | LED HID Replacement Fixtures | LEDHIDReplacementFixture-Exterior-TEPCI | DLC | 4FT 28W T5 to 15W |  |  |  |  | Delamp 4' T8 More than 12' above ground | T8 4 ft | Greater than 12 ft
| 15 | [7 empty] | 123 | 456 | [16 empty] | ENERGY STAR LED Downlights | LEDHIDReplacementFixture-Exterior-TEPCI | ENERGY STAR | 4FT 54W T5 to 25W |  |  |  |  | Delamp 8' T8 Less than 12' above ground | T8 8 ft | Less or equal to 12 ft
| 16 | [24 empty] | LED_Panel_Recessed_1x4 | LED Panel | LEDPanel-TEPCI | DLC | [5 empty] | Delamp 8' T8 More than 12' above ground | T8 8 ft | Greater than 12 ft
| 17 | [24 empty] | LED_Panel_Recessed_2x4 | LED Panel | LEDPanel-TEPCI | DLC
| 18 | [24 empty] | LED_Panel_Recessed_2x2 | LED Panel | LEDPanel-TEPCI | DLC
| 19 | [24 empty] | LED_Panel_Surface_Suspended | LED Panel | LEDPanel-TEPCI | DLC
20
21
22
23
other | 24 | [5 empty] | 123456
| 25 | [7 empty] | 123 | 456
| 26 | [6 empty] | 123456 | [11 empty] | Metal Halide
| 27 | [7 empty] | 123 | 456 | [9 empty] | High Pressure Sodium | [5 empty] | not on lighting tab:
| 28 | [7 empty] | 123 | 456 | [15 empty] | DLC/ES ID
| 29 | [24 empty] | led tubes dropdowns
| 30 | [24 empty] | downlighting measure
| 31 | [24 empty] | HID Base types
| 32 | [24 empty] | Occ Sensor Parking Lot yes/no
| 33 | [24 empty] | mat and labor costs
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
daylighting / occ sensor | 53 | [7 empty] | 123 | 456
| 54 | [7 empty] | 123 | 456 | [14 empty] | Yes
55
56
57
58
59
60
| 61 | [22 empty] | #REF!
| 62 | [22 empty] | #REF!
| 63 | [22 empty] | #REF!
| 64 | [22 empty] | #REF!
65
66
67

## Version History
Change Date | Notes
2025-04-03 | Update for 2025 MAS sheets, removed T12 tubes and A-Line standard lamps
2025-05-21 | Adding Occupancy Sensor check to DNQ if BC < 1
2026-02-05 | Update for Daylighting controls Incentive from $48 to $43
2026-05-01 | updated validation and caps for highbay LEDs, ratio changed from 2.0 to 1.75 to accommodate 455W MH as the base, upper capped changed from 1000 to 1100W to accommodate 1080W and 1100W HIDs
2026-08-24 | added DLC equivalency language and links